## Slide 2: Agenda
Part II 11:10
Keynote with Q&A Henry Tufnell MP, Member of Parliament for Mid and South Pembrokeshire
Keeping Britain Powered: Why Energy Security and Economic Growth Depend on Strategic Infrastructure Tom Sawyer CEO at Port of Milford Haven
How Global LNG Markets will Impact Europe this Winter Alex Froley Senior LNG Analyst at ICIS
Lunch (12:30 – 13:00)
Part I 9:30
Embedding Innovation through National Gas in T3 Katie Petherbridge Head of Innovation at National Gas
Powering Today, Transforming Tomorrow Darren Davidson Vice President at Siemens Energy UK&I
Future Networks: Navigating the Shift to a Multi-Molecules Economy Filippo Gaddo Managing Director at Alvarez & Marsal
National Gas Operational Update Alison Tann Head of Operational Delivery, National Gas
Break (10:50 – 11:10)

## Slide 3: Part I
Notes: Jake Introduction

## Slide 4: Part I Speakers
Darren Davidson
Vice President
Filippo Gaddo
Managing Director
Katie Petherbridge
Head of Innovation
Alison Tann
Head of Operational Delivery

## Slide 5: Katie Petherbridge Head of Innovation National Gas
Notes: Welcome everyone to the Launch of National Gas Energy Forum!
Why have we launched NGEF….
House keeping
No fire alarms
Phones on silent
We don’t have time for questions in part I (You may speak with our guest speakers in the break, any online questions will be followed up after the event and posted on our website)

## Slide 6: Embedding innovation through National Gas in RIIO-3
Katie Petherbridge
Head of Innovation
National Gas |
National Gas Energy Forum, Oct 2026

## Slide 7
Why innovation matters in RIIO-3
Innovation has always been central to how we respond to change, solve complex challenges and prepare our network for the future.
1
Strengthen resilience
2
Drive performance
3
Prepare for the energy transition
Innovation that delivers lasting value for customers, consumers and the wider energy system.
Across RIIO-3, our role will continue to focus on helping the business to:
Improve safety, productivity and efficiency.
1. Strengthen resilience
2. Drive performance
3. Prepare for the energy transition
Keep the network reliable, secure and ready for potential future changes.
Support the decarbonisation of our network in preparation for net zero.
National Gas |
National Gas Energy Forum, Oct 2026

## Slide 8
Innovation in RIIO-2
Heavily focused on developing the evidence case for hydrogen and net zero
We’ve seen changes in the energy landscape recently
As a result, the wider energy industry must focus on decarbonising energy supplies, while maintaining secure, affordable and reliable energy for consumers and businesses.
What this means for innovation in RIIO-3
Unlike in RIIO-2, innovation must not focus solely on enabling the transition to lower-carbon energy sources, but also on strengthening the resilience, flexibility and reliability of the network.
We’re focusing on innovation activities with:
Stronger alignment to strategic challenges
Clearer routes from idea to implementation
Greater focus on adoption, benefits and impact
Earlier engagement with stakeholders and suppliers
What’s changed for RIIO-3?
National Gas |
National Gas Energy Forum, Oct 2026

## Slide 9
Business priorities
Our innovation themes
Our innovation portfolio
Strategic objectives
Challenges
Value opportunities
Energy security and network resilience
Low-carbon transition
Safety and integrity
Digital and data
Business and customer
Outcome focused projects
Measurable benefits
Deployable solutions
Our strategy provides a clear line of sight
Our strategy translates the business priorities into targeted innovation activity with clear outcomes.
National Gas Energy Forum, Oct 2026

## Slide 10
IDENTIFY
COLLABORATE
ADOPT
1
2
3
4
5
6
7
Challenges and opportunities are gathered from across the business and prioritised.
The benefits case and potential benefits are identified at project idea stage to inform decision making.
A detailed scope and project plan are developed and submitted to collaborators for quotes.
The project is assessed by a cross-business forum for sign- off.
We work with the business, industry, academia and suppliers to deliver the project.
Value is tracked throughout the project, but on project completion, a handover plan is created detailing next steps.
Successful innovation moves into business-as-usual and delivers measurable value.
Challenge identification
Mature the idea
Scope the project
Sanction the project
Deliver the project
Close the project
Embed the learning
Likely to be suitable for Innovation funding
Not innovation (better suited to BAU / standard procurement)
May be suitable (depending on level of value & uncertainty)
High uncertainty
New or unproven solutions
Generates learning or evidence
Potential wider system impact
Some uncertainty remains
Adaptation of existing solutions
Needs further testing or evidence
Early-stage or developing ideas
Proven, low-risk solutions
Routine delivery or upgrades
Standard tools and methods
Focus on outputs, not learning
Innovation funding eligibility
Delivering innovation for the business
National Gas |
National Gas Energy Forum, Oct 2026

## Slide 11
Our deployment approach
INNOVATION PORTFOLIO
EARLY DEPLOYMENT PLANNING
There are two areas of focus for deployment:
We focus on embedding the solutions and knowledge gained from our RIIO-1 and RIIO-2 projects.
We ensure deployment is a focus when a project idea is first explored.
Deployment funding – a competition fund (we’re targeting January for our first project submission).
Utilising existing RIIO-3 business funding.
Building deployment activity into our RIIO-4 business plan.
Re-openers – forming part of our uncertainty mechanisms framework
Early consideration of the estimated value. When an idea is matured, a clear business case is created before sanctioning.
We’ve created a new cost-benefit analysis tool, to demonstrate the value of a project much earlier.
We’ve updated our value tracking categories, so they align with the business priorities.
Utilising Technology Readiness Level (TRL) planning – this will help focus deployment activity where it will have the most impact.
Routes to deployment include:
This includes:
2
1
National Gas |
National Gas Energy Forum, Oct 2026

## Slide 12
Deployment of Innovation across RIIO Periods
RIIO- 1: L555 Dent Tolerance
Deployed
RIIO-2: Hydrogen Repurposing Process
In deployment
RIIO-3 Proposed Project: Net Zero AGI
Pipeline
.
£1m spent developing hydrogen repurposing policies
2 new policies developed (TR/9H and TR/10H)
TRL change: Start TRL2 – Finish TRL9 The two policies are now approved for Business-as-Usual use.
The financial benefits of using these policies are still being quantified.
Following testing the pipeline dent tolerances were increased from 2% to 6%, enabling more informed decisions on when remedial work is required.
£84.6m cost avoidance to date
400 remedial actions avoided due to the increased tolerance
£200k saving per avoided action
Fully rolled out across National Gas, with the findings incorporated into updated pipeline inspection and management procedures.
5 TR/10H assessments already completed by Project Union
7 further applications planned across St Fergus to Teesside and North-West
Repurposing assets avoids the need to design and build new pipeline sections
Problem being addressed:
We currently vent methane to atmosphere in the normal course of inspection and maintenance activities.
Project purpose:
This project will demonstrate all technologies required to meet the net zero 2050 target on one strategic site – showcasing a blueprint for the future network.
An abetment of pig trap venting and gas actuators will be demonstrated, as well as maintenance and inspection venting and the deployment of continuous emissions monitoring.
Potential benefits:
If deployed on every National Gas site, there could be a potential emissions reduction of 71,166 tCO2e.
National Gas |
National Gas Energy Forum, Oct 2026

## Slide 13: Thank you Box.GT.Innovation@nationalgas.com

## Slide 14: Darren Davidson
Vice President
Siemens Energy UK&I

## Slide 15: Electrification, Resilience and the UK's Next Energy Challenge Darren Davidson
Vice President UK&IE - Siemens Energy

## Slide 17: Powering UK Energy Resilience Through Hydrogen and Long-Duration Storage
Facility Volume
(bcf)
% UK
Storage
Owner/
Operator
Rough 54.0 48
Stublach 14.0 13
Hornsea
(Atwick)
11.0 10
Aldbrough 10.4 9
Humbly
Grove
9.0 8
Holford 8.5 8
Hatfield
Moor
2.5 2
Hill Top
Farm
2.1 2
UK Total 111.5
Storage versus
Consumption %
4%
25%
25%
31%
Rough equivalent…
2.4 million homes
heated over winter
18 LNG Tankers
60 Salt Caverns
Energy Storage Capacity:
60TWhrs Natural Gas
20TWhrs Hydrogen
Equivalent Power Capacity
~6GWe Natural Gas
~2GWe Hydrogen
Rough – the UK’s largest battery
Daily Capacity In or Out:
1 billion cubic feet
29 million cubic meters
Long-duration energy storage is increasingly important for the UK as wind and solar supply more electricity.
By storing surplus renewable energy and releasing it during periods of low generation or high demand, it helps maintain reliable supplies and lower exposure to volatile international fuel prices

## Slide 18: Our company structure We support our customers along the entire energy value chain
Therein: Independently Managed
Businesses
• Sustainable Energy Systems
• Electrification, Automation, Digitalization
• Industrial Steam Turbines & Generators
• Compression
Offshore grid connections
Gas Services
Grid Technologies
Transformation of Industry
Siemens Gamesa

## Slide 19: Keeping the UK gas flowing - Strengthening the Backbone of our Energy Security
St Fergus – MCPD Modernisation
Three new SGT-400 driven compressor packages to replace existing mature fleet
Class leading Enhanced Dry Low Emission (eDLE) combustion to meet future environmental requirements
Fuel Flexibility to ensure site is ready for future energy mix scenarios (e.g.: H2)
Cyber Resilience – Control system replacement project
Hatton – Unit Replacement
Install of one SGT750 (41MW) to replace existing mature fleet
Project ensures compliance with environmental requirements while ensuring Hatton continues to play an important role in moving gas around the country
OEM involvement from survey and Pre-FEED to ensure upgrades a secure and fit for purpose
Controls and protection aligned to cyber requirements for now and future
OEM-defined interfaces retain maintainability
Through strategic investments and operational excellence at key National Gas facilities, Siemens Energy is helping maintain the reliability, availability and resilience of the UK's gas transmission infrastructure.

## Slide 20: Siemens Energy: We energise society
7
Manufacturing sites
13
Service centres / Warehouses
9
Project sites / Offices
Ulverston
350+
Manchester
350+
Worcester
100+
Newcastle
650+
Hull
1,550+
Lincoln
1,350+
Warwick
350+
Aberdeen
600+
Corby
£6m
12k m2
£132m
3.2k m2
£45m
1.7k m2
£10m
4.5k m2
(tbd)
25k m2
£31m
41k m2
£28m
92k m2
£29m
88k m2
Lisburn
Employing more than 7,700 people in the UK with a real estate space of more than 281k m2*
Adding more than £390m social value to the UK in FY25
Notes: RWG 26k m2 (19k Aberdeen + 7k Coventry)
CIC 6,900 m2

## Slide 21: Siemens Energy and Siemens Gamesa will be integrated into one joint, new brand

## Slide 22: Continuity and continued strength to support you
There will be continuity in every way that matters:
Our strategic direction, local presence, expertise, delivery, support, and relationships remain unchanged.
Everything that matters stays the same:
Same team, same expertise, same products, same service.
All existing contracts and agreements will remain in effect, incl. the financial ratings and guarantees that support them.

## Slide 23: Filippo Gaddo Managing Director Alvarez & Marsal

## Slide 24: The Future of Gas Networks: Navigating the Shift to a Molecule Economy
National Gas Forum – October 2026

## Slide 25
Contents
01 |  | Setting the scene |  | 02
02 |  | The German case study |  | 05
03 |  | Comparison with GB and Italy |  | 11
04 |  | Future investments: moving to a molecule economy |  | 16

## Slide 26
SETTING THE SCENE
01

## Slide 27: Gas has moved from the default growth fuel to a security-of-supply asset, and its value now depends on policy and demand
GLOBAL COMMODITY
SETTING THE SCENE
1990s
2020s
2040s onwards
2010s
2030s
Shale and LNG turn gas into a global, ship-borne commodity
VALUE CHAIN SPLITS
H₂ and CCUS regulation start to divide the value chain
GAS ESTABLISHED AS THE DEFAULT GROWTH FUEL
Market liberalisation let CCGTs beat coal on cost alone
GAS AS A RESILIENCE ASSET
2022 Russian supply shock and REPowerEU repositioned gas around security of supply
VALUE DEPENDS ON POLICY
Investment value now depends on how policy and demand evolve

## Slide 28: Decarbonisation splits the gas value chain into three investable trends, each with its own risk and timeline
SETTING THE SCENE
HYDROGEN
Broad gas network conversion
DISPLACES
High-temperature heat, feedstock and heavy transport
NEEDS
Cost parity with unabated gas
CONSTRAINT
Coordinating supply, network and demand
ELECTRIFICATION
The largest switch away from natural gas
DISPLACES
Building heat and low-temperature industry
NEEDS
Grid reinforcement and competitive power
CONSTRAINT
Installation cost and grid queues
1
2
CO₂
The option that allows more gas to stay on the system
ENABLES
Gas in power and heavy industry
NEEDS
CO₂ transport and storage at scale, with a carbon price or CfD
ROLE
Cuts emissions from remaining gas use
3

## Slide 29
THE GERMAN CASE STUDY
02

## Slide 30: A&M's demand model forecasts German gas and hydrogen demand and the CO₂ that needs capture
THE DEMAND MODELLING TOOL: OVERALL ARCHITECTURE
Demand Tool Architecture
Fuel Mix and Switching
Scenarios
Energy Demand
KEY INPUTS
Macroeconomics and Demographics
Commodity Prices and Policy
Technology Costs
Switching Economics Drivers
OUTPUTS
Gas and Hydrogen Demand Scenarios
CO₂ Volumes
Base Year Demand by Segment
1
2
3
1
Energy demand
How much energy each segment needs
2
Fuel mix and switching
Which fuel wins on economics and policy
3
Scenarios
Gas, H₂ and CO₂ outcomes to 2050

## Slide 31: Germany's gaseous fuel demand is declining as electrification and hydrogen displace gas
GERMAN CASE STUDY
Total Gaseous Fuel Demand – Gas & Hydrogen
Chart: 
 | 850 | 110 | 210 | 160
 | 160 | 340 | 444
TWh
2025
2050 - Low
2050 - Central
2050 - High
270
550
604
-35.3%
Total gaseous fuel demand (gas and H₂), Central Case
850 TWh
2025–2050
Gas demand, Central Case
2025–2050
Hydrogen demand, Central Case
2025–2050
Total gaseous fuel demand (gas and H₂), range across scenarios
2050
Key Figures
Gas
Hydrogen
550 TWh
850 TWh
335 TWh
0 TWh
210 TWh
270 TWh
604 TWh
–35%
Total gas and H₂ demand, 2025–2050 (Central)
c.40%
Hydrogen share of the 2050 mix (Central)

## Slide 32: Gas demand falls c.60% by 2050, with power and heating falling fastest and industrial process heat keeping the network in use
(*): Other demand segments include: Industry - Space heating, lighting & ICT, Industry - Mechanical energy & motors, Transport - Road
GERMAN CASE STUDY
Gas Demand by Scenario (TWh)
Chart: 
 | 65.5606 | 59.065 | 52.5854 | 43.6485 | 34.9873 | 26.2236
 | 58.2982 | 58.8641 | 51.3857 | 40.5307 | 24.1912 | 10.3093
 | 110.2294 | 95.7296 | 83.7767 | 64.5675 | 35.887 | 28.826
 | 115.7011 | 101.5557 | 94.7737 | 74.7254 | 58.1788 | 29.2263
 | 115.8006 | 105.1719 | 96.5732 | 77.8431 | 59.4784 | 48.7439
 | 125.3511 | 106.98 | 114.9681 | 89.2078 | 81.6703 | 75.0676
 | 259.1585 | 242.1867 | 219.439 | 204.0616 | 167.2392 | 117.0054
 | 850 | 836 | 822 | 808 | 794 | 780 | 768 | 756 | 744 | 732 | 720 | 706 | 692 | 678 | 664 | 650 | 630 | 610 | 590 | 570 | 550 | 528.8 | 507.6 | 486.4 | 465.2 | 444
 | 850 | 834 | 818 | 802 | 786 | 770 | 758 | 746 | 734 | 722 | 710 | 686 | 662 | 638 | 614 | 590 | 564 | 538 | 512 | 486 | 460 | 436 | 412 | 388 | 364 | 340
 | 850 | 830 | 810 | 790 | 770 | 750 | 730 | 710 | 690 | 670 | 650 | 606 | 562 | 518 | 474 | 430 | 398 | 366 | 334 | 302 | 270 | 248 | 226 | 204 | 182 | 160
2025
2030
2035
2040
2045
2050
850
770
714
595
462
-60%
High
Central
Low
Power Generation
District Heating
Residential Heating
Commercial Heating
Industry - Process heat <500°C
Industry - Process heat ≥500°C
Other*
–60%
Gas demand 2025–2050, Central case
c.44%
Heating’s share of remaining 2050 demand
c.2×
Share gain of ≥500°C industrial heat
Effect on each group
NETWORK OPERATORS
Plan for a system c.60% smaller, with H₂ corridors following industrial clusters
PRODUCERS AND SHIPPERS
Shift capacity to industrial users
INVESTORS AND LENDERS
Value concentrates in hard-to-abate assets

## Slide 33: German hydrogen demand rises to c.214 TWh by 2050, concentrated in power generation and heavy industry
Source: A&M analysis
GERMAN CASE STUDY
Hydrogen Demand by Scenario (TWh)
Chart: 
 | 0 | 0.57971 | 1.4563 | 2.0788 | 2.6981 | 3.376
 | 0 | 0.7971 | 2.233 | 4.0481 | 5.5 | 6.9565
 | 0 | 1.8841 | 3.8835 | 5.5799 | 7.5755 | 9.4118
 | 0 | 2.1014 | 6.3107 | 7.221 | 12.3491 | 17.8005
 | 0 | 2.971 | 7.3786 | 11.3786 | 19.1981 | 24.9616
 | 0 | 4.7101 | 8.3495 | 13.5667 | 27.8113 | 34.4757
 | 0 | 7.7536 | 19.7087 | 32.3851 | 44.934 | 57.5959
 | 0 | 0 | 35.3392 | 56.2453 | 59.7442
 | 0 | 0 | 0 | 0
 | 0 | 2 | 4 | 6 | 8 | 10 | 14 | 18 | 22 | 26 | 30 | 34 | 38 | 42 | 46 | 50 | 62 | 74 | 86 | 98 | 110 | 120 | 130 | 140 | 150 | 160
 | 0 | 6 | 12 | 18 | 24 | 30 | 34 | 38 | 42 | 46 | 50 | 60 | 70 | 80 | 90 | 100 | 114 | 128 | 142 | 156 | 170 | 178 | 186 | 194 | 202 | 210
 | 0 | 2 | 4 | 6 | 8 | 10 | 14 | 18 | 22 | 26 | 30 | 34 | 38 | 42 | 46 | 50 | 58 | 66 | 74 | 82 | 90 | 94 | 98 | 102 | 106 | 110
0
2025
2030
2035
2040
2045
2050
0
21
49
112
176
214
High
Central
Low
Power Generation
Residential Heating
Commercial Heating
Industry - Process heat <500°C
Industry - Process heat ≥500°C
Chemical Feedstock
Industry - Space heating, lighting & ICT
Transport - Road
Other
214 TWh
Hydrogen demand by 2050, Central case
>50%
From power and ≥500°C industrial heat
2035–45
Main growth period
Effect on each group
NETWORK OPERATORS
Repurpose pipes where H₂ follows gas routes, and build new pipe elsewhere
PRODUCERS AND USERS
Offtake timing drives electrolyser returns
INVESTORS AND LENDERS
Early investors gain most as demand grows, and electrification is the main risk

## Slide 34: Energy emissions drive the CO₂ decline, but industrial process emissions persist as a core capture market
Source: A&M analysis
GERMAN CASE STUDY
Total and captured CO₂ emissions in Germany – Central Case (MtCO₂)
Chart: 
 | 0.2 | 94.2 | 4.13 | 76 | 19.9661 | 63.7 | 30.6665 | 59.1 | 41.3385
 | 108.5 | 19.7 | 7.23 | 17.2 | 8.2054 | 15.7 | 9.2669 | 15.6 | 10.9311
 | 25.1
 | 0
2030
2035
4
7
2040
8
2045
9
2050
11
134
114
11
93
28
79
40
75
52
Energy (all combustion) captured emissions
Industrial processes captured emissions
Total Emissions (Energy)
Total Emissions (Industrial Processes)
–44%
CO₂ emissions 2030–2050, Central case
c.52 Mt
CO₂ captured by 2050
c.70%
Share of 2050 emissions captured
Effect on each group
NETWORK OPERATORS
Early pipes carry utilisation risk until capture grows after 2035
EMITTERS
Process emitters are the largest customers
INVESTORS AND LENDERS
Access to North Sea storage is the main risk

## Slide 35
Comparison with GB and Italy
03

## Slide 36: GB gas networks face the same question as Germany's: how much of the network survives, and in what role
COMPARISON WITH THE GB CASE
 | Germany | GB | Implication
The base asset | Decline is priced into TSO planning, and the Kernnetz names what converts | Conversion routes are still undecided | GB gas asset values are uncertain
The new corridor | c.9,040 km Kernnetz approved, with tariffs pending | c.2,500 km Project Union, with Hydrogen Transport Business Model (HTBM) funding undefined | Both have a planned corridor, and funding is unresolved
Dedicated CO₂ transport routes | A national network framework (KSpTG) exists, with no domestic storage | Storage and contracts are in place, and the network is built cluster by cluster | Germany leads on network structure, and GB leads on storage
GAS
HYDROGEN
CO₂
Germany more advanced on defining its gas and hydrogen networks. GB advanced on CO₂ storage and contracts.
Bottom line

## Slide 37: GB gas demand falls by nearly three-quarters by 2050, with most of the loss still to come after 2035
Source: FES Scenarios 2025, BNetzA / NEP 2025 , A&M analysis
COMPARISON WITH THE GB CASE
GB Gas Demand (TWh)
Chart: 
 | 0.1 | 1.3 | 2 | 2.1 | 1.3 | 2.8
 | 0.8 | 7.7 | 27 | 36.2 | 35.4 | 11.1
 | 92.4 | 59.1 | 58.8 | 64.8 | 42.3 | 53.4
 | 192.5 | 158.7 | 113.8 | 98.9 | 44.4 | 99.9
 | 307 | 304.6 | 231.9 | 125.4 | 105.6 | 0
 | 592.8 | 580.52 | 568.24 | 555.96 | 543.68 | 531.4 | 511.82 | 492.24 | 472.66 | 453.08 | 433.5 | 412.28 | 391.06 | 369.84 | 348.62 | 327.4 | 307.72 | 288.04 | 268.36 | 248.68 | 229 | 216.64 | 204.28 | 191.92 | 179.56 | 167.2
2025
2030
2035
2040
2045
2050
593
531
434
327
229
167
-71.8%
FES - Holistic Transition
Hydrogen Production
Industrial & Commercial
Residential
Transport
Power Generation
-72%
GB gas demand decline by 2050
63%
Share of the total decline that falls after 2035
Chart: 
 | 100 | 97.9285 | 95.857 | 93.7854 | 91.7139 | 89.6424 | 86.3394 | 83.0364 | 79.7335 | 76.4305 | 73.1275 | 69.5479 | 65.9683 | 62.3887 | 58.809 | 55.2294 | 51.9096 | 48.5897 | 45.2699 | 41.9501 | 38.6302 | 36.5452 | 34.4602 | 32.3752 | 30.2901 | 28.2051
 | 100 | 99.0477 | 98.0953 | 97.143 | 96.1907 | 95.2383 | 93.2536 | 91.2689 | 89.2842 | 87.2995 | 85.3148 | 84.9879 | 84.661 | 84.3341 | 84.0072 | 83.6803 | 82.1592 | 80.638 | 79.1169 | 77.5957 | 76.0746 | 74.1054 | 72.1363 | 70.1671 | 68.198 | 66.2289
 | 100 | 96.5975 | 93.1951 | 89.7926 | 86.3901 | 82.9876 | 77.0768 | 71.166 | 65.2552 | 59.3444 | 53.4336 | 47.5228 | 41.612 | 36.5225 | 31.433 | 26.3434 | 21.2539 | 16.1643 | 11.0748 | 5.9853 | 0.89573 | 0.71658 | 0.53744 | 0.35829 | 0.17915 | 0
 | 100 | 98.1176 | 96.2353 | 94.3529 | 92.4706 | 90.5882 | 89.1765 | 87.7647 | 86.3529 | 84.9412 | 83.5294 | 80.7059 | 77.8824 | 75.0588 | 72.2353 | 69.4118 | 66.3529 | 63.2941 | 60.2353 | 57.1765 | 54.1176 | 51.2941 | 48.4706 | 45.6471 | 42.8235 | 40
%
2025
90%
95%
83%
2030
2035
2040
39%
76%
1%
54%
2045
28%
66%
40%
2050
GB - (FES - Holistic Transition)
GB - (FES - Hydrogen Evolution)
Germany - (BNetzA / NEP)
Germany - (A&M Central Case)
German vs GB gas demand decline scenarios (indexed to 2025 = 100%)
Pace and pattern of decline
TIMING
The decline speeds up after 2035
END-USE
Heating demand falls first
REMAINING DEMAND
Power and H₂ production remain

## Slide 38: GB hydrogen demand stays small until the mid-2030s, then more than triples across a wider set of users
Source: FES Scenarios 2025, BNetzA / NEP 2025 , A&M analysis
COMPARISON WITH THE GB CASE
GB Hydrogen Demand (TWh)
Chart: 
 | 0.01 | 0.19 | 0.1 | 0.46 | 0.75 | 0.94
 | 0.04 | 0.97 | 0.47 | 0.82 | 0.98 | 1.15
 | 0 | 1.3358 | 0.66 | 1.09 | 2.16 | 4.04
 | 0 | 7 | 1.63 | 8.37 | 16.18 | 22.46
 | 0 | 0 | 2.22 | 9.48 | 18.1265 | 27.3303
 | 0 | 0 | 6.9207 | 12.3382 | 19.06 | 29.25
 | 0 | 0 | 20 | 29 | 30 | 30
 | 0.05 | 1.9392 | 3.8283 | 5.7175 | 7.6066 | 9.4958 | 13.9968 | 18.4977 | 22.9987 | 27.4997 | 32.0007 | 37.9122 | 43.8237 | 49.7352 | 55.6467 | 61.5582 | 66.6979 | 71.8375 | 76.9772 | 82.1168 | 87.2565 | 92.8392 | 98.422 | 104.0048 | 109.5876 | 115.1703
2025
2030
2035
2040
2045
2050
0
9
32
62
87
115
FES - Holistic Transition
Industrial
Power Generation
Residential
Road Transport
Rail
Aviation
Shipping
Chart: 
 | 0 | 1.8992 | 3.7983 | 5.6975 | 7.5966 | 9.4958 | 13.9968 | 18.4977 | 22.9987 | 27.4997 | 32.0007 | 37.9122 | 43.8237 | 49.7352 | 55.6467 | 61.5582 | 66.6979 | 71.8375 | 76.9772 | 82.1168 | 87.2565 | 92.8392 | 98.422 | 104.0048 | 109.5876 | 115.1703
 | 0 | 2.4 | 4.8 | 7.2 | 9.6 | 12 | 32 | 52 | 72 | 92 | 112 | 132 | 152 | 172 | 192 | 212 | 223.6 | 235.2 | 246.8 | 258.4 | 270 | 281.6 | 293.2 | 304.8 | 316.4 | 328
 | 0 | 8.826 | 17.652 | 26.478 | 35.304 | 44.13 | 70.36 | 96.59 | 122.82 | 149.05 | 175.28 | 201.51 | 227.74 | 274.2825 | 320.825 | 367.3675 | 413.91 | 460.4525 | 506.995 | 553.5375 | 600.08
 | 0 | 5.72 | 11.44 | 17.16 | 22.88 | 28.6 | 33.06 | 37.52 | 41.98 | 46.44 | 50.9 | 61.12 | 71.34 | 81.56 | 91.78 | 102 | 115.58 | 129.16 | 142.74 | 156.32 | 169.9 | 177.82 | 185.74 | 193.66 | 201.58 | 209.5
TWh
2025
2030
2035
2040
2045
2050
102
87
170
115
210
212
GB - (FES - Holistic Transition)
GB - (FES - Hydrogen Evolution)
Germany - (BNetzA / NEP)
Germany - (A&M Central Case)
German vs GB hydrogen demand ramp up scenarios (TWh)
115 TWh
GB H₂ demand by 2050 (FES Holistic)
3.5×
Growth from 2035 to 2050
Effect on GB networks
MAIN RISK
Low use of new pipe
FIRST PROBLEM
Tariff design comes before engineering
SEQUENCING
Offtake is contracted before pipe is committed

## Slide 39: Italy: natural gas falls 20–43% by 2040, but biomethane and hydrogen fill much of the gap, and views on 2050 diverge widely
COMPARISON WITH ITALY
Italy gas, biomethane and hydrogen demand by scenario (TWh) – Snam–Terna DDS 2024
Italian vs German and UK gas demand scenarios (indexed to 2025 = 100%)
Chart: 
| 2025 | 2030 | 2035 | 2040 | 2045 | 2050
Italy – DDS 2024 Distributed Energy | 100 | 99 | 98 | 97 | 96.1 | 95.1 | 93.1 | 91.1 | 89.1 | 87.2 | 85.2 | 82.9 | 80.6 | 78.4 | 76.1 | 73.8
Italy – DDS 2024 Global Ambition | 100 | 99 | 98 | 97 | 96.1 | 95.1 | 93.8 | 92.6 | 91.3 | 90 | 88.8 | 87.2 | 85.6 | 84 | 82.4 | 80.8
Italy – DDS 2024 NECP Slow | 100 | 100.6 | 101.2 | 101.8 | 102.4 | 103.1 | 101.7 | 100.4 | 99.1 | 97.8 | 96.4 | 94.5 | 92.6 | 90.7 | 88.8 | 86.9
Italy – ECCO Late Transition | 100 | 100.3 | 100.7 | 101 | 101.3 | 101.6 | 102 | 102.3 | 102.6 | 103 | 103.3 | 103.6 | 103.9 | 104.3 | 104.6 | 104.9 | 100.5 | 96.1 | 91.6 | 87.2 | 82.8 | 78.4 | 73.9 | 69.5 | 65.1 | 60.7
Italy – ECCO Fit-for-55 (2040–50) | 75.4 | 71.8 | 68.2 | 64.6 | 61 | 57.4 | 53.8 | 50.2 | 46.6 | 43 | 39.3
Italy – ECCO G7-aligned | 100 | 95.7 | 91.5 | 87.2 | 83 | 78.7 | 73.8 | 68.9 | 63.9 | 59 | 54.1 | 49.2 | 44.3 | 39.3 | 34.4 | 29.5 | 27.9 | 26.2 | 24.6 | 23 | 21.3 | 19.7 | 18 | 16.4 | 14.8 | 13.1
Germany – A&M Central Case | 100 | 98.1 | 96.2 | 94.4 | 92.5 | 90.6 | 89.2 | 87.8 | 86.4 | 84.9 | 83.5 | 80.7 | 77.9 | 75.1 | 72.2 | 69.4 | 66.4 | 63.3 | 60.2 | 57.2 | 54.1 | 51.3 | 48.5 | 45.6 | 42.8 | 40
UK – FES Holistic Transition | 100 | 97.9 | 95.9 | 93.8 | 91.7 | 89.6 | 86.3 | 83 | 79.7 | 76.4 | 73.1 | 69.5 | 66 | 62.4 | 58.8 | 55.2 | 51.9 | 48.6 | 45.3 | 42 | 38.6 | 36.5 | 34.5 | 32.4 | 30.3 | 28.2
Italy – Snam 2050 note (~600 TWh) | 102
Chart: 
 | 586 | 511 | 584 | 427 | 447 | 534 | 333 | 374 | 467
 | 2 | 48 | 22 | 74 | 74 | 33 | 101 | 101 | 44
 | 0 | 8 | 4 | 33 | 44 | 26 | 68 | 92 | 59
2
0
48
8
22
4
33
44
33
26
44
59
2023
2030 Policy
2030 Slow
2035 DE-IT
2035 GA-IT
2035 Slow
2040 DE-IT
2040 GA-IT
2040 Slow
Natural gas
Biomethane
Hydrogen
-20% to -43%
Natural gas demand by 2040 vs 2023 across DDS 2024 scenarios
169–193 TWh
Biomethane plus hydrogen in 2040 (DE-IT, GA-IT), from 2 TWh in 2023
Molecules supply shift
MIX SHIFT
Biomethane reaches about 100 TWh and hydrogen 59–92 TWh by 2040, so all molecules fall only 3–15% while natural gas falls 20–43%
HYDROGEN IS IMPORTED
Snam expects 50–73 TWh of the 68–92 TWh of 2040 hydrogen to be imported, so corridors matter.
2050
Snam sees ~600 TWh of molecules; ECCO sees gas plus biomethane at 13–61% of today.
Source: Snam–Terna DDS 2024; Snam; ECCO, Lo stato del gas (Feb 2024); FES 2025; A&M analysis.

## Slide 40
FUTURE INVESTMENTS: MOVING TO A MOLECULE ECONOMY
04

## Slide 41: GB gas and CO₂ infrastructure attract c.£2–4bn a year of committed funding, while hydrogen transport attracts c.£0.1bn and is still at design stage
FUTURE INVESTMENTS: MOVING TO A MOLECULE ECONOMY
GB committed and approved infrastructure funding, annualised over each commitment period (£bn per year)
Chart: 
 | 3.6 | 0.14 | 2.4
£ bn/yr
£3.6 bn/yr
£18bn over c.5 years
£0.1 bn/yr
£0.7bn over c.5 years
£2.4 bn/yr
£9.4bn over 4 years
Gas
Hydrogen
CO₂
Ofgem RIIO-3 totex
Regulated, committed and paid by consumers
FEED studies and £500m pledge
No investment decision or programme cost yet
Spending Review 2025 capital
HyNet and East Coast Cluster build-out
NOT THE SAME KIND OF MONEY
£18bn
Gas
Five-year regulated totex
£0.7bn
Hydrogen
Development funding only
£21.7bn
CO₂
Total spending over 25-year support period
Committed capital
Gas and CO₂ now have committed capital, and hydrogen transport does not.
Why the gap matters
Gas attracts the most each year
CO₂ is second and concentrated in two clusters
Hydrogen transport has no final investment decision yet

## Slide 42: Decisions on asset value and who pays what will set the future shape of GB's gas networks
Source: Ofgem RIIO-3 Final Determinations; DESNZ hydrogen transport business model; A&M analysis
REGULATION AND POLICY
Gas pipes move into a hydrogen asset base
GAS NETWORK
Selected pipes are repurposed at a regulated value.
HYDROGEN
A national backbone opens with a capped tariff.
WHO PAYS
Gas users pay first and hydrogen users later, and the state carries most volume risk, as in Germany.
SIGNPOSTS
Hydrogen transport funding is allocated and industry signs offtake.
The network shrinks and is retired area by area
GAS NETWORK
Only the core serving industry and power remains.
HYDROGEN
Dedicated pipes serve the industrial clusters.
WHO PAYS
Remaining users pay through faster depreciation, and tax or securitisation covers the rest.
SIGNPOSTS
Hydrogen is ruled out for home heating, and Ofgem asks for decommissioning plans.
GB risks this if decisions stay open
GAS NETWORK
The full network stays, volumes fall and unit charges rise.
HYDROGEN
Investors and users each wait for the other.
WHO PAYS
The last customers pay, and they are likely to include those least able to switch.
SIGNPOSTS
The heat decision slips, large industrial users close and RIIO-3 ends in 2031 with no hydrogen tariff.
Still open today: the value of repurposed pipes, who pays for stranded cost, the hydrogen tariff, heating policy and volume risk
1 MANAGED CONTRACTION
2 CONVERSION TO HYDROGEN
3 UNMANAGED DECLINE
Notes: Managed contraction: gas distribution shrinks area by area under regulated decommissioning plans, while transmission keeps serving industry and power. Hydrogen stays within the industrial clusters on dedicated pipes. Remaining users pay through faster depreciation, and any residual stranded value could move to taxation or be securitised.
Conversion to hydrogen: selected gas pipes move into a hydrogen asset base at a regulated value, with a capped early tariff. Gas users fund a time-limited transfer, later hydrogen users repay it, and the state carries most of the volume risk, broadly as in Germany. Signposts are the first hydrogen transport business model allocation, a Project Union investment decision and signed industrial offtake.
Unmanaged decline: mains replacement continues on pipes that may be retired, unit charges rise as volume falls, and households able to switch leave first. Hydrogen investors and users each wait for the other to commit. The cost falls on the last customers, who may include those least able to switch.

## Slide 43: Regulatory and policy choices on pricing, funding and risk allocation could ease the transition, or create new problems for gas customers and investors
Source: Regulation (EU) 2024/1789; BNetzA WANDA; KfW; Ofgem RIIO-3 Final Determinations; A&M analysis
REGULATION AND POLICY
Should gas and hydrogen share one asset base and one price during the ramp-up?
Should some of the stranded gas cost move to general taxation?
At what value should gas pipes enter a hydrogen network?
Who pays to disconnect the last customers on a street?
Could faster depreciation speed up the exits it is meant to pay for?
Who carries the risk of hydrogen pipe built ahead of demand?
RISK
Hydrogen costs fall on a shrinking group of gas users.
OPTIONS
Asset bases could stay separate, with a capped, time-limited transfer.
RISK
Charges rise for the last gas users.
OPTIONS
Taxpayer funding or securitisation could cover the rest, each at a fiscal cost.
RISK
Conversion and gas investment both stall.
OPTIONS
Book, discounted and demand-linked values are all possible.
RISK
A full network serves a few customers.
OPTIONS
Decommissioning could run area by area, with disconnection funding unsettled.
RISK
Higher bills speed exits, and new pipe goes into areas due to close.
OPTIONS
Replacement spend could be linked to decommissioning plans.
RISK
Capital holds back, or pipe is built ahead of demand.
OPTIONS
Risk could be shared explicitly, as in Germany, or build linked to offtake.
1 SHARED PRICE
2 WHO PAYS
3 ASSET VALUE
4 LAST CUSTOMERS
5 UNINTENDED EFFECTS
6 INVESTMENT GAP
Notes: 1. Shared price. A shared price would help hydrogen take-up, and gas customers would carry the cost. One option is separate asset bases with a limited, time-bound transfer between them, which is broadly the approach under EU rules. Where to draw that line is a matter of judgement.
2. Who pays. Leaving stranded cost with gas users raises their charges as volumes fall. Moving it to electricity bills could discourage heat pumps. Taxpayer funding and securitisation are both options, each with its own fiscal and political cost.
3. Asset value. Book value, a discounted value and a value linked to hydrogen demand are all possible answers. Each shifts value between gas customers, hydrogen users and investors, and early clarity may matter more than the answer chosen.
4. Last customers. Planning decommissioning area by area could avoid a full network serving very few customers. It raises open questions on funding disconnections and supporting the customers who remain.
5. Unintended effects. Faster depreciation spreads cost more fairly over time, and it may raise bills enough to speed up exits. Mains replacement may also continue in areas likely to close. Linking spend to decommissioning plans is one way to manage both.
6. Investment gap. Germany shares volume risk between the state and operators. GB has not yet set out how it would share that risk. Linking pipe build to contracted offtake is one option, and it may slow early network growth.

## Slide 44: Gas, hydrogen and CO₂ each need a different investment case
KEY TAKEAWAYS
GAS
A smaller but durable network
Industry and power keep it in use, and value concentrates in hard-to-abate assets
HYDROGEN
Volumes arrive after 2035
Utilisation and funding are the main risks
CO₂
A way to keep gas in use
Storage access and contracts set the pace

## Slide 46: Alison Tann
Head of Operational Delivery

## Slide 47
Agenda
Operational Update
Winter Preparedness

## Slide 48
System Average Prices
Chart: 
SAP 26/27 | 6.1255 | 6.1429 | 6.3668 | 6.3444 | 6.1758 | 6.262 | 6.32 | 6.417 | 6.5834 | 6.524
2025/26
2024/25
p/kWh
p/therm
176
147
117
88
59
29
0
205
c
234
2026/27
Notes: System average prices comparing the last few years –light green
Dark greenline
Middle East conflict – call out start of conflict / prices x2 in 11d / ceasefire in 18 June / Aug contd strikes / Sept Houthi targeting oil infrastructure – more than x2 last year, v reactive market

## Slide 49
NTS Supply overview
c
mcm
Notes: NTS Supply Overview:
Norwegian imports reduced end-Sept due to offshore planned outages
Huge increase in Oct, new LT contracts, temps started to fall
  Supply-led = if demand day entry remains high eg due to price/contracts and despite demand reductions = storage injections, turn down
  Demand-led = if demand high, supplies respond eg withdrawal and turn-up to meet it
Storage adapting and withdrawals negligible as demand begin met by UKCS and Norwegian imports
LNG as expected ~5 mcm/d
Spike in Storage to meet demand spike (next slide) likely due to change in wind generation
No EU import as we’d expect this time of year

## Slide 50
NTS Demand overview
mcm
Notes: NTS Demand Overview:
LDZ creeping up in Oct, looks gradual but significant increase from Sept levels – domestic load, people feeling the cold!
Power spikes driven by changes in wind and less so solar generation
Storage respondin to changes in Demand and delta to poewer egeneration –
Injection increases despite high prices ahead of winter
Ireland/ EU exports and Ind fairly static

## Slide 51
GB and LNG Storage Levels
All data from 15:45 11/10/26
Total GB Storage Stock
1164 mcm
65% full (MRS)
Total LNG Storage Stock
748 mcm
52% full
Oct 26
Oct 25 – Oct 26
Oct 26
Oct 25 – Oct-26
Oct 24 – Oct 25
Oct 24 – Oct 25
mcm
Notes: Scale is thousands of mcm
Focus on green outlined area showing Oct and latest data (11th Oct)
LNG
Lower than last year similar trajectory gap closed from few moths prior Sept was 43%
GB
Lower than last year similar trajectory gap closed from few moths prior Sept was 52%

## Slide 52
EU Storage Levels
bcm
Chart: 
EU Target | 82.5
Notes: EU gas storages levels are ~15% lower vs the 5-year average and near decade lows
Injection rates averaged 189 mcm/d, over the last 2-weeks (vs ~45 mcm/d YoY).​ Stepped up injection considerably ​ EU storage injections for October have so far outpaced last year’s levels, but inventories remain below target, meaning stronger TTF price signals versus global markets are likely to persist to attract LNG and support injections throughout October
Injection season ?

## Slide 53
Winter Preparedness
Notes: Why is it needed?
Show NTS summer vs winter configurations (compressor green dots)
When is it needed? What does it involve?
Detail from Sam B on latest activities and reliability tracking
Assurance runs (full functionality), emissions testing, risk assessment, simulating operational conditions where possible, configurations, reliability, resilience, readiness
LHS Peterborough RHS Hatton
Every year huge pre to make sure assets available, resilient and able to respond to changes in demand, flow direction, whatever challenges winter throws at us
Collaboration across entire org – call-out rotas, on-site support, 4x4 vehicles*,
*sites are remote largely and therefore not easy to access in winter conditions
Maint done – can’t simulate winter conditions fully, and temp <0 etc. Loops etc can create higher flows to test though not rep of winter conditions
When temperatures fall, demand increases and supply sectors respond, our assets get to be tested in earnest.
We’re ready at this point to resolve any teething issues and of course sub-zero temperatures is another level of testing that as I said we cannot simulate prior to needing

## Slide 54
Chart: 
October November December January February March
Winter Demand – year on year variation
mcm
2025 / 26
2024 / 25
2023 / 24
Notes: General pattern similar, forecasts and indications though 2 yrs never the same
Expect and pre for Cot/Nov ramp up
Dec lows reflect Xmas / NYE period
Timing and magnitude of spikes are where we’re tested more and
Cold day >350mcm –
Big diffs in-month for diff years

## Slide 55
Chart: 
October November December January February March
3-year average
Winter Demand – daily 3-year average
mcm
Notes: Poss hide slide?

## Slide 56
Winter 25/26 preparedness headlines
Our people are focussed and ready
Our supply mix is diverse, also responsive
Our commercial strategies are in place
Our assets give us operational flexibility
Notes: Compressur UNITs (~50) across 21 stations

## Slide 57: Up Next: Part II – 11:10

## Slide 58: Part II Speakers
Henry Tufnell MP
Member of Parliament for Mid and South Pembrokeshire
Tom Sawyer
Chief Executive Officer
Alex Froley
Senior LNG Analyst

## Slide 59: Henry Tufnell MP Member of Parliament for Mid and South Pembrokeshire
Notes: Personal introduction
Purpose of the operational update

## Slide 60: Q&A with Henry Tufnell MP

## Slide 61: Tom Sawyer Chief Executive Officer Port of Milford Haven
Notes: Personal introduction
Purpose of the operational update

## Slide 62
Port of
Milford Haven
Energy and Economic Security starts here
THE UK’S LEADING ENERGY PORT
Notes: Good morning
When we think about energy security, we often think about policy decisions, global markets and international events.
But energy security ultimately depends on places.
Places where energy arrives.
Places where infrastructure operates.
Places where skilled people keep systems running every hour of every day.
The Port of Milford Haven is one of those places.

## Slide 63
One Place.
National Significance.
THE UK’S LEADING ENERGY PORT
Chart: Million Tonnes
| London | Grimsby & Immingham | Milford Haven | Southampton | Liverpool | Tees & Hartlepool | Felixtowe | Dover | Belfast
Million Tonnes | 56.6 | 44.9 | 38.8 | 34.4 | 31.3 | 23.4 | 22.7 | 18.9 | 18.2
UK’s 3rd
Largest Port
Notes: Milford Haven is often viewed as a regional asset.
In reality, it is nationally significant infrastructure.
More than 38 million tonnes of cargo pass through the Port each year.
That’s one in every eleven tonnes handled by all UK ports.
What happens here matters to the whole country.

## Slide 64
THE UK’S LEADING ENERGY PORT
Capacity to supply one third of UK natural gas demand
Notes: No discussion about UK energy security can take place without discussing LNG.
Just under 60% of the total gas into the National Transmission System was derived from imported LNG between October 2025 and July 2026.
Milford Haven is home to two of the UK’s three import terminals - South Hook LNG and Dragon LNG.
And in 2025 they handled 80% of all LNG imported into the UK - coming from USA, Algeria, Qatar and other global destinations.
That means four out of every five units of LNG imported into the UK entered through Milford Haven in 2025.
At its full process capacity, each year South Hook LNG Terminal alone can supply the natural gas needs of around 25 million UK households – that’s all homes in Wales 18 times over!
Milford Haven has the capacity to supply around a third of total UK gas demand providing energy to homes, businesses and power generation across the Country.
During a period of global uncertainty, that makes Milford Haven one of the most strategically important energy locations anywhere in the country.

## Slide 65
RWE Pembroke Power Station
2200MW Combined
Cycle Gas Turbine
Valero Pembroke Refinery
270,000 bpd, 10.5m
barrels storage
Valero Pembrokeshire Oil Terminal
8.7mb petroleum products
storage facility
Dragon LNG
Liquefied Natural Gas
terminal
South Hook LNG
Liquefied Natural Gas
terminal
Impala
8.81mb
storage facility
Pembroke Port
Cargo handling, heavy lift , offshore renewables, passenger and freight ferry operations
THE UK’S LEADING ENERGY PORT
One of Britain’s most important Energy Clusters
Notes: When LNG arrives in the UK, it arrives somewhere.
But LNG is only part of the story.
When power stations need fuel, it enters the system somewhere.
When future energy projects are developed, they need somewhere to be built.
Milford Haven isn't a single energy asset.
It is one of the UK's most concentrated energy clusters.
Alongside LNG infrastructure we host major refining and power generation assets.
And refineries are not simply a place where transport fuel is made. They are central to producing platform chemicals used by industries including aerospace, automotive, electronics, and biopharmaceuticals and medicine.
Resilience, diversity and flexibility to the UK's energy system is being delivered by Milford Haven.

## Slide 66
THE UK’S LEADING ENERGY PORT
~£1bn Economic Contribution
5,000 Welsh Jobs
£60k Average Salary
Energy Security = Economic Security
Notes: Energy security and economic security go hand in hand.
Energy infrastructure doesn't just support energy.
It supports communities.
It supports families.
It supports skilled careers.
The Milford Haven’s Energy Cluster supports nearly 4,800 jobs across Wales.
And contributes almost £1 billion to the Welsh economy.
These are skilled, productive jobs supporting communities and supply chains across the region
This is exactly the kind of industrial base a reindustrialisation strategy need to understand and build upon.

## Slide 67
THE UK’S LEADING ENERGY PORT
From Energy Security to Energy Transition
Future Energy System:
LNG
Floating Offshore Wind
Hydrogen
Sustainable Fuels
Industrial Decarbonisation
Notes: And the story does not end with today's energy system.
The argument is not that Britain should choose between oil and gas and the energy technologies of the future.
The same assets that make Milford Haven vital today create opportunities for tomorrow.
Floating offshore wind.
Hydrogen.
Sustainable fuels.
Industrial decarbonisation.
We have the opportunity to build the future energy system on existing strengths.
Oil and gas will remain part of the UK's energy and industrial system for decades to come, while hydrogen, renewables, nuclear, CCS and storage develop and grow.
We need resilience today and investment in tomorrow.

## Slide 68
THE UK’S LEADING ENERGY PORT
Milford Haven CO2 Project
Project Overview:
A CO2 storage initiative led by RWE and Dragon LNG
Dragon Renewables Energy Park
Project Overview:
Three new onshore wind turbines, integrated with the existing solar farm
West Wales Hydrogen
Project Overview:
14.2 MW Green Hydrogen production facility
Criterion Quay
Project Overview:
A dedicated marshalling and O&M facility supporting floating offshore wind
RWE Synchronous Condenser
Project Overview:
Grid-stabilising condenser delivering inertia and reactive support for renewables
RWE Battery Plant
Project Overview:
350 MW Battery Energy Storage System
Pembroke Green Hydrogen
Project Overview:
110 MW Green Hydrogen production facility
Notes: In Milford Haven, the energy transition is already underway.
Milford Haven shows what that transition can look like: existing oil and gas infrastructure and skills alongside hydrogen, carbon capture, renewables and new forms of energy.
These aren’t aspirations or concepts on a drawing board.
They are live projects being developed right here across our region as part of the Celtic Freeport.
What’s particularly important is that these projects are not emerging in isolation.
They are being developed within an existing energy ecosystem that already serves the UK at scale.
The same region that imports LNG, refines fuels and generates power is now attracting investment in Hydrogen, Carbon Capture, Renewable Generation, Battery Storage and the infrastructure needed to support Floating Offshore Wind.

## Slide 69
THE UK’S LEADING ENERGY PORT
Energy Security Has A Geography
Deep Water Harbour
LNG Infrastructure
Oil Refinery
Major Power Generation
Skilled Workforce
Available Industrial Land
Marine Expertise
Future Energy Opportunities
Notes: The UK's future energy system won't be built from scratch.
It will be built on foundations that already exist.
What differentiates Milford Haven is that we already have many of the ingredients needed for future success.
Infrastructure.
Skills.
Industrial capability.
Marine expertise.
These advantages take decades to build.

## Slide 70
THE UK’S LEADING ENERGY PORT
Securing Britain’s Energy Today While Enabling Tomorrow’s
Notes: The energy transition will not happen instead of energy security.
It will happen because energy security provides the foundation for it.
The places that keep Britain powered today can help power Britain tomorrow.
Today, Milford Haven helps secure a third of the nation's gas.
Tomorrow, it can help unlock the next generation of energy opportunities.
That is the role we are proud to play.
And it is a role we are committed to strengthening for future generations.
The opportunity in places like Milford Haven is not a lack of ambition.
It is the pace of delivery.
Industry is ready.
Ports are investing.
Developers are progressing projects.
The question is whether our planning, consenting and infrastructure systems can move quickly enough to match the scale of the opportunity.

## Slide 71: Alex Froley
Senior LNG Analyst
ICIS

## Slide 72: How Global LNG Markets will Impact Europe this Winter
National Gas Energy Forum, 15 October 2026
Alex Froley Senior LNG Analyst, ICIS Alex.Froley@icis.com

## Slide 73
Part 1: The Strait of Hormuz

## Slide 74: The Strait of Hormuz remains mostly shut for LNG
Regular Qatari flows to Kuwait
This fell to as low as six to seven cargoes per month crossing Hormuz during March-August. Numbers were increasing in recent weeks.
Normally up to around 90 cargoes per month cross the Strait of Hormuz from Qatar and the UAE.
Qatar
UAE
Strait of Hormuz
Three LNG tankers with Qatari cargoes have reportedly been hit by Iran, the Al Rekayyat the Gaslog Shanghai and the Maran Gas Mystras, in July, August and October.
Notes: What is the situation at the start of June 2026? We have seen regular flows of LNG from Qatar to Kuwait inside the Strait of Hormuz. There have been at least 14 cargoes from Qatar to Kuwait, as well as one for consumption in the UAE. We have also seen a total of eight cargoes leaving the strait over the last three months, most of them in recent weeks. Qatar has sent four through the strait, three to Pakistan and one to China. These seem to have been agreed with Iran. Pakistan at least was reported to have agreed a deal with Iran for its cargoes. The UAE has also sent four cargoes, including two to India, one to China and one to Japan. Some of the UAE vessels had also crossed west into the strait to load before going back out east through the strait. Most of the vessels are turning off their signals for at least part of the journey, making them harder to track. While the strait is no longer 100% closed, eight cargoes in three months doesn’t compare with the 100 per month that normally load from Qatar and the UAE, the majority of which would be exported through the strait. (Kuwait can take up to 10 per month in summer).

## Slide 75: QatarEnergy has 14 trains, two damaged in March
QatarEnergy North shown in yellow
QatarEnergy South shown in blue
Qatar has fourteen trains, divided into two production complexes. Capacity shown in mtpa.
Notes: We can see here an aerial photo of Qatar’s Ras Laffan industrial city. The yellow and blue blocks are the LNG plants, with other facilities such as Shell’s Pearl gas-to-liquids plant and the Dolphin project for piping gas to the UAE further left. You can also see the jetties for the ships. QatarEnergy was originally two companies (Qatargas and RasGas) which later merged. They are now known as QatarEnergy North and QatarEnergy South. Different trains have different partners and offtakers. Trains four and six in the south complex were damaged for three to five years, accounting for around 12.8mtpa of production or 17% of Qatar’s production. ExxonMobil was partnered in these trains. Qatar has restarted some of its production. This has been indicated by satellites tracking heat signatures from equipment, showing they are active again. There have also been so many cargoes loaded from Ras Laffan that they can’t all have come from the facility’s 1.9 million cubic metre (LNG) storage tanks. We’re not sure exactly which trains are online. It appears Qatar may be cycling through some of the smaller units in turn to keep them all in greater readiness for eventual full restart.

## Slide 76: Collapse in Gulf LNG exports to low levels

## Slide 77: QatarEnergy CEO’s latest comments
“Qatar is ready to resume normal operations within a few weeks of the reopening of the Strait of Hormuz.”
Two damaged LNG trains will take three years to repair.
LNG can’t be sent by bypass pipelines to Oman. This would require new liquefaction. “This makes no economic sense”.
“In the very near future, we will be the largest LNG trader in the world by far.”
US Golden Pass trains 2 and 3 are due “in full operation” next year.
QatarEnergy CEO Saad Sherida al-Kaabi, speaking at the Qatar Economic Forum in New York on 20 September 2026

## Slide 78
Part 2: Global supply/demand changes

## Slide 79: Qatar’s exports were focused mainly on Asia
Notes: We can see here Qatar’s annual exports in 2025, showing its major consumers. China was the single biggest buyer from Qatar, with India, Taiwan, Pakistan and South Korea also major consumers. While Qatar was an important supplier to Europe in earlier years, the growth of the US LNG market with quick access across the Atlantic to Europe has led Qatar to re-direct much of its output to Asia. This meant that when the strait closed, Asia was most impacted, losing the most volumes, and also closest to the supply, so affected sooner. This pushed up East Asia spot gas prices above Europe’s TTF. One interesting question is what could happen if Qatar resupplied LNG to some countries but not others. So far there have been cargoes for Kuwait, inside the strait, and at least one each for China and Pakistan. If certain countries cut deals with Iran for safe passage, and took their past volumes, that could account for a fairly large portion of Qatar’s output.

## Slide 80: Asia holds premium over summer, Europe rises for winter

## Slide 81: Steady stream of US cargoes heading southeast to Asia
ICIS LNG Edge ship-tracking
Notes: This picture from ICIS LNG Edge ship-tracking shows all US origin cargoes and their current location. You can see the shortage of LNG in Asia is pulling a steady stream of cargoes southeast from the US around the bottom of Africa to Asia. This route is much busier than at the start of the year. The Panama Canal, incidentally, remains little used by LNG, with just a couple of cargoes per month, due to ongoing congestion and high costs/waiting times.

## Slide 82: Asia takes increased share of US cargoes over summer

## Slide 83: Europe’s lost summer share limits storage injections

## Slide 84: Changes in global supply: North America helps offset Qatar

## Slide 85: Changes in global demand: Egypt grows as others fall

## Slide 86
Part 3: Demand in Asia

## Slide 87: China … demand falling before Hormuz closed
Number of cargoes

## Slide 88: Taiwan, high exposure, replaced by spot purchases
Number of cargoes

## Slide 89: Pakistan, very highly exposed, energy shortages
Number of cargoes

## Slide 90
Part 4: Alternative supplies

## Slide 91: North American growth has helped partly offset Qatari losses

## Slide 92: Russian LNG faces logistical challenges from sanctions
The Northern Sea Route (blue) through the Arctic to Asia is only available for half the year, around June to December.
The sanctioned Arctic LNG 2 project has faced restricted output due to the long delivery chain to its only customer at Beihai in China.
Europe has banned all Russian LNG deliveries to Europe from January 2027, which will force Yamal LNG cargoes to also take longer routes to Asia.
Arctic/Yamal LNG projects
Beihai
Notes: Russia has two projects in the Arctic, the Yamal LNG project, which has been supplying European companies like Shell, Total, Naturgy and SEFE for several years and the sanctioned Arctic LNG 2 project. The only current buyer for Arctic LNG 2 is the far-away Beihai terminal in China. Cargoes from the Arctic normally need to use ice-class (Arc7) ships for at least part of their journey. During June to December the ice-class ships can take the Northern Sea Route (blue) east through the Arctic to reach Asia quicker. During January to June all ships must head west around Europe, sometimes switching from the special ice-class ships to normal tankers on the way. This is a much longer route and the more volume Russia has to send on this longer route, the more shipping it needs, or else it will have to reduce output. Extra strain was added when a sanctioned Russian tanker was attacked earlier this year in the Mediterranean, meaning the tankers must now all take the long route around the Cape of Good Hope. At the end of April 2026 Europe banned short-term Russian LNG deals into Europe. This didn’t have a great effect, as most deliveries are likely viewed as long-term. However, all long-term imports are due to stop in January 2027. Russia is taking steps to secure new shipping capacity, for its Arctic project at least, buying up old steam-powered ships being sold off at the end of their lives. However, there remain logistical challenges.

## Slide 93: LNG market now shrinking slightly in 2026
At the start of the year we expected 2026 to be a year of supply growth and a move to lower prices, likely to pre-2022 levels.
We now see the LNG market shrinking in 2026 from the year before.
Our base case is to return to growth in 2027, but this depends on Hormuz re-opening.

## Slide 94
Part 5: Winter risks and outlook

## Slide 95: Forward curve pushed higher as winter risks near

## Slide 96: Warnings of high temperatures during “Godzilla” El Niño
A record El Nino will boost temperatures in the Pacific Ocean. Europe could potentially see milder, wetter Q4 weather.
Atlantic hurricanes reduced, cutting risks to US Gulf LNG.
Potential colder spells late winter.
Notes: The World Meteorological Organization this week confirmed that it would be an El Nino summer, the weather condition with high temperatures in the Pacific Ocean. Likelihood is 80-90%. This brings the possibility of high temperatures in East Asia during the summer. Very hot temperatures in countries like Japan and South Korea could boost power demand for air conditioning, increasing competition for spot LNG cargoes just when Europe needs to be stepping up its own imports for storage injections. On the bright side, El Nino years may have reduced US hurricane risk. For the European winter it can be a wetter, warmer start to winter, but a colder, drier Q1. News organizations say this year’s El Nino could be extremely strong, and so some are calling it a “Godzilla” El Nino.

## Slide 97: Late winter cold snap risk remains
In January 2026 the US suffered another extreme cold snap (also in February 2021), which drew Pacific cargoes into the Atlantic, including an unusual Australian cargo to east coast Canada.
Late cold winter snaps in Europe include the February/March 2018 “Beast from the East”.

## Slide 98: Winter Gas Market Risks
Europe’s storage is low for the time of year. Prices are soaring higher as Europe competes harder against Asia for cargoes ahead of winter.
A record El Niño is due this year. It could bring a warmer start to Europe’s winter, which could help reduce heating and also cut the risk of hurricanes affecting US supplies. But El Nino can also be linked to a risk of a colder end to the season next year.
Russian LNG flows to Europe are banned from January 2027. Russia is increasing its shipping length, but overall exports could be constrained and it adds uncertainty to the middle of winter.
The forward curve will continue to react to prompt market events. It could lower if Hormuz is resolved soon, but a cold winter or more permanent damage could push the forward curve up yet higher.
If Hormuz is resolved early next year, 2027 could still be a year of LNG market growth, but Europe will need to refill storage again next summer and a prolonged Hormuz outage could limit supplies. In the longer term, however, the market should return to growth and lower prices later in the decade.
Notes: Conclusions … the market seems to be hoping still for a fairly early resolution of the Strait of Hormuz. But as yet there is no end in sight. We’re already down to the same LNG supply as last year. If the strait is closed for the rest of the year, this year’s LNG supply will be lower than last year. Prices in Europe need to rise to attract more LNG for storage, but this could come in competition with Asia buying more LNG for power generation during the El Nino summer.
If next winter is cold, and storage has not been adequately refilled ahead of the season, then prices could end up soaring quite a bit higher than current levels as Europe competes against Asia for supplies at peak winter periods, even if the Strait of Hormuz has re-opened by then, as it could be too late to catch up.

## Slide 99: Thank you for attending! We look forward to seeing you online on 3rd December 2026 & in person on 28th January 2027
If you would like to provide any feedback on the forum, please email
Box.OperationalLiaison@nationalgas.com