## Contents
Title | Link
Key stats | Key stats
Forecast gas demand & weather corrected demand | Figure 1 & Table 1
Historic & forecast winter supplies | Table 2
Forecast supplies for winter 2025/26 | Figure 2
Observed supply in winter 2024/25 | Table 3
Peak 1-in-20 demand for 2024/25 and 2025/26 | Figure 3 & Table 4
Supply maximum for 2024/25 and 2025/26 | Table 5
Supply capability for 2024/25 and 2025/26 | Figure 4 & Table 6
Peak day supply margins for 2024/25 and 2025/26 | Figure 5 & Table 7
Historic margins | Table 8
GB Storage Withdrawal to Space Ratio (Winters 2017/18 to 2024/25) | Figure 6
Total GB storage withdrawals (mcm) and ratio winter 2024/25 | Table 9
Price differentials and injections in February 2018 | Figure 7
Stock/Space/Fullness ahead of recent cold snaps | Figure 8
GB Power Generation by souce, winter 2024/25 | Figure 9
Half Hourly Gas power output (GW) - 12th December 2024 | Figure 10
Half Hourly Gas power output (GW) - 5th February 2025 | Figure 11
GB LNG imports Winters 2020/21 – 2025/26 (bcm) | Figure 12
Global LNG Liquefaction capacity additions (bcm) | Figure 13
NBP-TTF monthly future contract spreads, with interconnector tariff thresholds | Figure 14
EU storage under average, cold and supply loss conditions | Figure 15
European demand and flexible supply under average, cold and supply loss conditions | Table 10
Scenario 1 demand with central forecast | Table 11
Scenario 1 supply with central forecast | Table 12
Scenerio 1 Interesting days breakdown | Table 13
Scenario 1 supply | Figure 16
Scenario 2 demand with central forecast | Table 14
Scenario 2 supply with central forecast | Table 15
Scenerio 2 Interesting days breakdown | Table 16
Scenario 2 supply | Figure 17
Storage stock levels for scenario 3 | Table 17
Average and max supply and demand for cold snap scenario | Table 18
Cold snap supplies with 75% full storage | Figure 18
Cold snap with supply loss | Figure 19
Cold snap with low storage stocks | Figure 20

## Key stats chart
Contents Page
| mcm/d | 2024/25 Actuals | 2024/25 Forecast | 2025/26 Forecast
| Avg daily demand | 257.0298 |  | 247.6378
| Daily peak demand |  | 474 | 481.8812
| Supply capability |  | 601 | 565

## Figure 1 & Table 1
Contents Page
Table 1 |  |  |  |  | Figure 1
Forecast gas demand for winter 2025/26 and actual and weather corrected demand for 2024/25 |  |  |  |  | Forecast gas demand for winter 2025/26
bcm (including shrinkage) | 2024/25 Actual Demand | 2024/25 Weather Corrected Demand | 2025/26 Forecast | % Change
NDM | 26.3781 | 26.9153 | 27.1988 | 1.053%
DM + Industrial | 4.1174 | 4.1294 | 4.3332 | 4.935%
Power | 9.2339 | 9.2339 | 7.6142 | -17.54%
Total GB demand | 39.7294 | 40.2786 | 39.1461 | -2.812%
Ireland | 3.3519 | 3.3519 | 3.3361 | -0.4726%
Exports to continental Europe | 0.3758 | 0.3758 | 0.26795 | -28.7%
Storage Injection | 2.3967 | 2.3967 | 2.0723 | -13.53%
Total NTS demand | 46.0661 | 46.5224 | 44.8224 | -3.654%
Table A
TWh (including shrinkage) | 2024/25 Actual Demand | 2024/25 Weather Corrected Demand | 2025/26 Forecast
NDM | 290.1588 | 296.068 | 299.1867 |  |  | NDM | DM + Industrial | Power | Total GB demand | Ireland | Exports to continental Europe | Storage Injection | Total NTS demand
DM + Industrial | 45.2918 | 45.423 | 47.6647 |  | 2025/26 Forecast | 27.1844 | 4.3332 | 7.6077 | 39.1253 | 3.3361 | 0.26795 | 2.0723 | 44.8016
Power | 101.5733 | 101.5733 | 83.756
Total GB demand | 437.0239 | 443.0643 | 430.6074
Ireland | 36.871 | 36.871 | 36.6967
Exports to continental Europe | 4.1338 | 4.1338 | 2.9474
Storage Injection | 26.3632 | 26.3632 | 22.7953
Total NTS demand | 506.7274 | 511.7462 | 493.0469
This chart isn't available in your version of Excel. Editing this shape or saving this workbook into a different file format will permanently break the chart.

## Figure 2 & Table 2
Contents Page
Table 2 |  |  | Table B |  |  | Figure 2
Historic and forecast winter supplies | [5 empty] | Actual supplies for winter 2024/25 and forecast for 2025/26
Winter bcm / (average mcm/d) | 2024/25 Actual | 2025/26 Forecast | Winter TWh / (average GWh/d) | 2024/25 Actual | 2025/26 Forecast
UKCS | 15.4 bcm (85 mcm/d) | 14.5 bcm (80 mcm/d) | UKCS | 169.6 TWh (937 GWh/d) | 159.7 TWh (882 GWh/d)
Norway | 16.1 bcm (89 mcm/d) | 16.0 bcm (89 mcm/d) | Norway | 176.9 TWh (977 GWh/d) | 176.4 TWh (974 GWh/d)
LNG Import | 9.8 bcm (54 mcm/d) | 10.5 bcm (58 mcm/d) | LNG Import | 107.4 TWh (594 GWh/d) | 115.1 TWh (636 GWh/d)
Imports from continental Europe | 0.6 bcm (3 mcm/d) | 0.6 bcm (3 mcm/d) | Imports from continental Europe | 6.6 TWh (37 GWh/d) | 6.6 TWh (36 GWh/d)
Storage Withdrawal | 3.5 bcm (19 mcm/d) | 2.7 bcm (15 mcm/d) | Storage Withdrawal | 38.8 TWh (214 GWh/d) | 30.0 TWh (166 GWh/d)
Grand Total | 45.4 bcm (250 mcm/d) | 44.3 bcm (245 mcm/d) | Grand Total | 499.3 TWh (2759 GWh/d) | 487.8 TWh (2694 GWh/d)
Winter(bcm) | 2024/2025 Actual | 2025/2026 Forecast | Winter(Twh) | 2024/2025 Actual | 2025/2026 Forecast
UKCS | 15.4167 | 14.5167 | UKCS | 169.5839 | 159.6839
Norway | 16.0826 | 16.0326 | Norway | 176.9084 | 176.3584
LNG Import | 9.768 | 10.468 | LNG Import | 107.448 | 115.148
Imports from continental Europe | 0.6018 | 0.59958 | Imports from continental Europe | 6.6198 | 6.5954
Storage Withdrawal | 3.5283 | 2.7283 | Storage Withdrawal | 38.8113 | 30.0113
Grand Total | 45.3974 | 44.3452 | Grand Total | 499.3 | 487.797 | 2024/25 Actual | UKCS | Norway | LNG Import | Eu Import | Net Storage Withdrawal | 2025/26 Forecast
[6 empty] | 45.3974 | -0.9 | -0.05 | 0.7 | -0.0022183 | -0.8 | 44.3452
Winter(mcm/d) | 2024/2025 Actual | 2025/2026 Forecast | Winter(Gwh/d) | 2024/2025 Actual | 2025/2026 Forecast
UKCS | 85.1752 | 80.2029 | UKCS | 936.9277 | 882.2316
Norway | 88.854 | 88.5778 | Norway | 977.3944 | 974.3557
LNG Import | 53.9669 | 57.8343 | LNG Import | 593.6354 | 636.1768
Imports from continental Europe | 3.3249 | 3.3126 | Imports from continental Europe | 36.5735 | 36.4387
Storage Withdrawal | 19.4934 | 15.0735 | Storage Withdrawal | 214.4271 | 165.8083
Grand Total | 250 | 245 | Grand Total | 2758.958 | 2694
This chart isn't available in your version of Excel. Editing this shape or saving this workbook into a different file format will permanently break the chart.

## Table 3
Contents Page
Table 3
Observed maximum, minimum and average daily supplies
observed daily volumes in winter 2024/25 (mcm/d)
| Max | Min | Avg
UK Continetal Shelf | 93.51 | 70.6 | 84.7073
Norway | 113 | 52.5 | 88.3658
LNG Import | 108.6 | 5.1 | 53.6703
Imports from continental Europe | 32.5 | 0 | 3.3066
GB Storage | 101.2 | 0 | 19.3863
Table C
observed daily volumes in winter 2024/25 (GWh/d)
| Max | Min | Avg
UK Continetal Shelf | 1028.61 | 776.6 | 931.7798
Norway | 1243 | 577.5 | 972.0241
LNG Import | 1194.6 | 56.1 | 590.3736
Imports from continental Europe | 357.5 | 0 | 36.3725
GB Storage | 1113.2 | 0 | 213.2489

## Figure 3 & Table 4
Contents Page
Table 4 |  |  |  |  | Figure 3
Peak 1-in-20 demand forecast for 2024/25 and 2025/26 |  |  |  |  | Peak 1-in-20 demand for 2025/26
mcm/d | 2024/25 | 2025/26 | %Change
NDM | 326 | 311.3122 | -4.505% | -14.6878
DM & Industrial | 30 | 32.9855 | 9.952% | 2.9855
Power | 88 | 98.4234 | 11.84% | 10.4234
Ireland | 30 | 39.16 | 30.53% | 9.16
Total Demand | 474 | 481.8812 | 1.663% | 7.8812
Table D
GWh/d | 2024/25 | 2025/26
NDM | 3586 | 3424.4347
DM & Industrial | 330 | 362.8405
Power | 968 | 1082.6578
Ireland | 330 | 430.76
Total Demand | 5214 | 5300.6929

## Figure 4 & Table 5&6
Contents Page
Table 5 |  |  |  | Table 6 |  |  |  | Figure 4
Supply maximum forecast for 2024/25 and 2025/26 |  |  |  | Supply capability for 2024/25 and 2025/26 |  |  |  | Supply capability for 2025/26
| Supply maximum |  |  |  | Supply Capability
mcm/d | 2024/25 | 2025/26 | %Change | mcm/d | 2024/25 | 2025/26 | %Change
UK Continetal Shelf | 100 | 85 | -15% | UK Continetal Shelf | 100 | 85 | -15%
Norway | 141 | 135 | -4.255% | Norway | 141 | 135 | -4.255%
LNG Import | 150 | 175 | 16.67% | LNG Import | 150 | 150 | 0%
EU Import | 112 | 83 | -25.89% | EU Import | 112 | 83 | -25.89%
GB Storage | 121 | 112 | -7.438% | GB Storage | 121 | 112 | -7.438%
Total | 624 | 590 | -5.449% | SE Restriction | -23 | 0
|  |  |  | Total | 601 | 565 | -5.99%
Table E
Gwh/d | 2024/25 | 2025/26
UKCS | 1100 | 935
Norway | 1551 | 1485
LNG | 1650 | 1925
EU imports | 1232 | 913
Storage | 1331 | 1232
Total | 6864 | 6490
[9 empty] | UK Continetal Shelf | Norway | LNG Import | EU Import | GB Storage | 2025/26 Supply Maximum | LNG Capabilty Restriction | Supply Capability
[9 empty] | 85 | 135 | 175 | 83 | 112 | 590 | -25 | 565
2024/25 Capability Waterfall (not in document)
[9 empty] | UK Continetal Shelf | Norway | LNG Import | EU Import | GB Storage | 2024/24 Supply Maximum | SE Capability Restriction | Supply Capability
[9 empty] | 100 | 141 | 150 | 112 | 121 | 624 | -23 | 601
This chart isn't available in your version of Excel. Editing this shape or saving this workbook into a different file format will permanently break the chart.
This chart isn't available in your version of Excel. Editing this shape or saving this workbook into a different file format will permanently break the chart.

## Figure 5 & Table 7
Contents Page
Figure 5
Peak day supply margins for 22025/26
Peak demand |  | Peak supply
|  |  | Total supply | Supply minus largest loss
NDM | 311.3122 | UKCS | 85 | 85
DM & Industrial | 32.9855 | Norway | 135 | 135
Power | 98.4234 | LNG | 150 | 78
Ireland | 39.16 | EU imports | 83 | 83
|  | Storage | 112 | 112
Total Demand | 481.8812 | Total | 565 | 493
Table 7 |  |  |  | Table F
Peak day supply margins for 2024/25 and 2025/26
mcm/d | 2024/25 | 2025/26 |  | Forecast GWh/d | 2023/24 | 2024/25
1-in-20 peak demand | 474 | 481.8812 |  | 1-in-20 peak demand | 5214 | 5300.6929
1-in-20 non storage supply | 480 | 453 |  | 1-in-20 non storage supply | 5280 | 4983
1-in-20 storage supply | 121 | 112 |  | 1-in-20 storage supply | 1331 | 1232
1-in-20 TOTAL supply | 601 | 565 |  | 1-in-20 TOTAL supply | 6611 | 6215
1-in-20 Margin | 127 | 83.1188 |  | 1-in-20 Margin | 1397 | 914.3071
N-1 Supply loss | 72 | 72
N-1 Margin | 55 | 11.1188
Plot - fig5
Peak demand | Peak supply |  | Peak demand
Peak demand | Peak supply | Peak supply - largest loss | Peak demand
NDM |  |  | 311.3122
DM & Industrial |  |  | 32.9855
Power |  |  | 98.4234
Ireland |  |  | 39.16
Shrinkage |  |  | 0
UKCS | 85 | 85
Norway | 135 | 135
LNG | 150 | 78
EU imports | 83 | 83
Storage | 112 | 112
| 565 | 493 | 481.8812

## Table 8
Contents Page
Table 8
Historic margins
| Forecast (mcm/d) | 2018/19 | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26
| Margin | 103 | 89 | 79 | 104 | 112 | 159 | 127 | 83.1188
| N-1 Margin | 22 | 8 | 9 | 32 | 50 | 87 | 55 | 11.1188
Table G
| Forecast (GWh/d) | 2018/19 | 2019/20 | 2020/21 | 2021/22 | 2022/23 | 2023/24 | 2024/25 | 2025/26
| Margin | 1133 | 979 | 869 | 1144 | 1232 | 1749 | 1397 | 914.3071
| N-1 Margin | 242 | 88 | 99 | 352 | 550 | 957 | 605 | 122.3071

## Figure 6
Contents Page
Figure 6
GB storage withdrawal to space ratio (winters 2017/18 to 2024/25)
GB Storage Withdrawal to Space Ratio (Winters 2017/18 to 2024/25)
Site Name | Hill Top | Stublach | Holford | Aldbrough | Hornsea | Humbly Grove | Hatfield Moor | Rough
Min | 0.70195 | 1.5629 | 1.0686 | 1.3891 | 0.50556 | 0.36165 | 0.26922 | 0.3175
Range | 3.0086 | 1.2859 | 2.0634 | 0.86769 | 0.68747 | 0.58689 | 0.29981 | 0.17281
Avg | 2.3253 | 2.0422 | 2.0127 | 1.784 | 0.76419 | 0.67776 | 0.45445 | 0.40375
Rank | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8

## Table 9
Contents Page
Table 9
Total GB storage withdrawals (mcm) and ratio winter 2024/25
Site Name | Total withdrawals (mcm) | Ratio (24/25)
Stublach | 843 | 2.2
Rough | 738 | 0.5
Aldbrough | 635 | 2.2
Holford | 309 | 1.3
Hornsea | 278 | 0.7
Humbly Grove | 237 | 0.8
Hill Top | 205 | 3.7
Hatfield Moor | 55 | 0.5
Table H
Site Name | Total withdrawals (GWh)
Stublach | 9273
Rough | 8118
Aldbrough | 6985
Holford | 3399
Hornsea | 3058
Humbly Grove | 2607
Hill Top | 2255
Hatfield Moor | 605

## Figures 7-8
Contents Page
Figure 7
Price differentials and injections in February 2018
Price differentials and injections in February 2018
Gas Day | Injection | Day-Ahead Price p/th | Week-Ahead Price p/th | Price Differential (Day Ahead - Week Ahead) p/th
2018-02-10 | 12.4705 | 50.1 | 50.45 | 0.35
2018-02-11 | 26.0096 | 50.1 | 50.45 | 0.35
2018-02-12 | 0.30826 | 50.7 | 50.875 | 0.175
2018-02-13 | 0 | 51.9 | 52.225 | 0.325
2018-02-14 | 1.3251 | 50.075 | 51.05 | 0.975
2018-02-15 | 22.0249 | 49.15 | 49.75 | 0.6
2018-02-16 | 2.3649 | 50.175 | 50.875 | 0.7
2018-02-17 | 31.4492 | 50.175 | 50.875 | 0.7
2018-02-18 | 33.658 | 50.175 | 50.875 | 0.7
2018-02-19 | 8.1304 | 54.175 | 55.9 | 1.725
2018-02-20 | 16.1212 | 57 | 60.4 | 3.4
2018-02-21 | 13.6529 | 59.025 | 62 | 2.975
2018-02-22 | 5.6617 | 61.375 | 66 | 4.625
2018-02-23 | 0 | 71 | 73.5 | 2.5
Figure 8
MRS Stock/Space/Fullness ahead of recent cold snaps
Stock/Space/Fullness ahead of recent cold snaps
Day Before Cold Snap | Opening Stock | Available Capacity | % Full
2018-02-26 | 766.9472 | 431.9565 | 63.97%
2019-01-30 | 1075.3241 | 228.1181 | 82.5%
2021-02-07 | 922.2726 | 532.0885 | 63.41%
2022-12-10 | 1391.3684 | 75.0385 | 94.88%
2023-01-14 | 1464.5753 | 108.8573 | 93.08%

## Figure 9
Contents Page
Date | Gas | Nuclear | Imports | Wind | Others | GENERATION | Figure 9
1999-10-01 | 294611 | 211022 | 231838 | 636711 | 174806 | 1548988 | GB Power Generation by souce, winter 2024/25
1999-10-02 | 422592 | 211349 | 208432 | 466341 | 210242 | 1518956
1999-10-03 | 491585 | 215149 | 243431 | 279278 | 250770 | 1480213
1999-10-04 | 378079 | 226205 | 175193 | 459558 | 258625 | 1497660
1999-10-05 | 151530 | 231928 | 174522 | 609711 | 236136 | 1403827
1999-10-06 | 235901 | 210825 | 249718 | 553166 | 147252 | 1396862
1999-10-07 | 452028 | 212768 | 243800 | 322352 | 263888 | 1494836
1999-10-08 | 409827 | 213560 | 235158 | 477527 | 205290 | 1541362
1999-10-09 | 335591 | 207372 | 202788 | 606108 | 197092 | 1548951
1999-10-10 | 420939 | 194967 | 260234 | 453934 | 246420 | 1576494
1999-10-11 | 476050 | 166529 | 243490 | 389091 | 264463 | 1539623
1999-10-12 | 178453 | 168488 | 216013 | 746682 | 134428 | 1444064
1999-10-13 | 554927 | 179843 | 255932 | 223920 | 223971 | 1438593
1999-10-14 | 729021 | 186835 | 169416 | 256853 | 246692 | 1588817
1999-10-15 | 419414 | 187226 | 130481 | 697682 | 171992 | 1606795
1999-10-16 | 451653 | 193828 | 197028 | 515231 | 202641 | 1560381
1999-10-17 | 491682 | 196256 | 182872 | 327160 | 265920 | 1463890
1999-10-18 | 440439 | 178994 | 100618 | 544850 | 241887 | 1506788
1999-10-19 | 375734 | 176325 | 178795 | 366336 | 252309 | 1349499
1999-10-20 | 230235 | 180707 | 82250 | 896761 | 113476 | 1503429
1999-10-21 | 387708 | 182921 | 112624 | 667805 | 218225 | 1569283
1999-10-22 | 494704 | 185323 | 181423 | 377152 | 267175 | 1505777
1999-10-23 | 520232 | 186360 | 125831 | 522658 | 228199 | 1583280
1999-10-24 | 390665 | 186658 | 185269 | 551017 | 251595 | 1565204
1999-10-25 | 624473 | 188216 | 231730 | 188770 | 223497 | 1456686
1999-10-26 | 369103 | 188937 | 263660 | 382540 | 195166 | 1399406
1999-10-27 | 261213 | 189372 | 235016 | 486738 | 221156 | 1393495
1999-10-28 | 563613 | 189612 | 264523 | 328580 | 189869 | 1536197
1999-10-29 | 754955 | 190137 | 226889 | 171434 | 228843 | 1572258
1999-10-30 | 699491 | 190521 | 247072 | 197695 | 219918 | 1554697
1999-10-31 | 496231 | 199817 | 266732 | 410980 | 189919 | 1563679
1999-11-01 | 645181 | 200328 | 297702 | 200472 | 178049 | 1521732
1999-11-02 | 586584 | 216371 | 254098 | 217224 | 156157 | 1430434
1999-11-03 | 692759 | 223754 | 275046 | 88971 | 155744 | 1436274
1999-11-04 | 934146 | 224697 | 184069 | 90950 | 186341 | 1620203
1999-11-05 | 952859 | 225088 | 156459 | 80841 | 208284 | 1623531
1999-11-06 | 868245 | 225914 | 134057 | 184264 | 210079 | 1622559
1999-11-07 | 740068 | 226842 | 114211 | 360552 | 182880 | 1624553
1999-11-08 | 799923 | 227696 | 194892 | 186918 | 197986 | 1607415
1999-11-09 | 733203 | 228174 | 251738 | 110313 | 169215 | 1492643
1999-11-10 | 562335 | 228201 | 204183 | 369252 | 157437 | 1521408
1999-11-11 | 572760 | 228009 | 248952 | 451419 | 195824 | 1696964
1999-11-12 | 823981 | 227221 | 202438 | 328519 | 216477 | 1798636
1999-11-13 | 817311 | 230183 | 190072 | 261972 | 252645 | 1752183
1999-11-14 | 783339 | 230180 | 213777 | 226976 | 230847 | 1685119
1999-11-15 | 634506 | 230140 | 136772 | 551942 | 176336 | 1729696
1999-11-16 | 267554 | 229815 | 252096 | 647456 | 148697 | 1545618
1999-11-17 | 306979 | 229689 | 318664 | 494345 | 201516 | 1551193
1999-11-18 | 738582 | 210580 | 282773 | 294293 | 216258 | 1742486
1999-11-19 | 573238 | 199526 | 264444 | 667694 | 172899 | 1877801
1999-11-20 | 542160 | 199304 | 248746 | 702446 | 209372 | 1902028
1999-11-21 | 722342 | 199832 | 171082 | 671567 | 216153 | 1980976
1999-11-22 | 628673 | 199678 | 270544 | 456260 | 256048 | 1811203
1999-11-23 | 236529 | 199666 | 203422 | 943603 | 135614 | 1718834
1999-11-24 | 207236 | 186278 | 170874 | 946086 | 116758 | 1627232
1999-11-25 | 312073 | 147081 | 211302 | 886663 | 211896 | 1769015
1999-11-26 | 831594 | 141033 | 245528 | 262962 | 279256 | 1760373
1999-11-27 | 834205 | 141269 | 249522 | 420536 | 193558 | 1839090
1999-11-28 | 802146 | 140445 | 206918 | 483610 | 212636 | 1845755
1999-11-29 | 490290 | 116624 | 162341 | 856822 | 194458 | 1820535
1999-11-30 | 367837 | 113664 | 156333 | 773541 | 152904 | 1564279
1999-12-01 | 293929 | 130668 | 260676 | 738164 | 126561 | 1549998
1999-12-02 | 575268 | 138603 | 240613 | 577893 | 218611 | 1750988
1999-12-03 | 935235 | 142199 | 201279 | 329089 | 226898 | 1834700
1999-12-04 | 780004 | 141418 | 116008 | 623483 | 219388 | 1880301
1999-12-05 | 259210 | 150399 | 249490 | 941173 | 176134 | 1776406
1999-12-06 | 459482 | 168124 | 218362 | 723963 | 212644 | 1782575
1999-12-07 | 261421 | 168587 | 242780 | 906257 | 146969 | 1726014
1999-12-08 | 218594 | 168702 | 268646 | 892657 | 161811 | 1710410
1999-12-09 | 588771 | 169065 | 300808 | 580917 | 195372 | 1834933
1999-12-10 | 1017088 | 169208 | 170965 | 385121 | 196699 | 1939081
1999-12-11 | 1205713 | 177856 | 161461 | 131522 | 215121 | 1891673
1999-12-12 | 1202137 | 183766 | 122669 | 107341 | 235494 | 1851407
1999-12-13 | 1058919 | 186259 | 117506 | 208464 | 214158 | 1785306
1999-12-14 | 437632 | 189059 | 158469 | 691029 | 181191 | 1657380
1999-12-15 | 204824 | 196843 | 168204 | 995618 | 137281 | 1702770
1999-12-16 | 312042 | 209752 | 168584 | 888571 | 185620 | 1764569
1999-12-17 | 487970 | 217978 | 100099 | 881784 | 174742 | 1862573
1999-12-18 | 282919 | 219522 | 242145 | 843608 | 173299 | 1761493
1999-12-19 | 225058 | 229662 | 285805 | 864612 | 199421 | 1804558
1999-12-20 | 269420 | 230582 | 249324 | 862478 | 166570 | 1778374
1999-12-21 | 193490 | 232268 | 124942 | 1018316 | 109732 | 1678748
1999-12-22 | 156068 | 232685 | 139277 | 1026104 | 132668 | 1686802
1999-12-23 | 400138 | 221355 | 260029 | 605695 | 182860 | 1670077
1999-12-24 | 278636 | 205225 | 199185 | 662829 | 180948 | 1526823
1999-12-25 | 262125 | 216737 | 245821 | 462961 | 184721 | 1372365
1999-12-26 | 525172 | 224962 | 279113 | 123114 | 194130 | 1346491
1999-12-27 | 737034 | 230456 | 217794 | 143982 | 199998 | 1529264
1999-12-28 | 589397 | 245300 | 122990 | 378689 | 192332 | 1528708
1999-12-29 | 265492 | 240108 | 164068 | 739154 | 172962 | 1581784
1999-12-30 | 226142 | 242456 | 152254 | 829647 | 195644 | 1646143
1999-12-31 | 205004 | 242497 | 107965 | 982933 | 131917 | 1670316
2000-01-01 | 168484 | 242761 | 224112 | 719078 | 164399 | 1518834
2000-01-02 | 444169 | 242315 | 264736 | 627436 | 210253 | 1788909
2000-01-03 | 645539 | 241011 | 270776 | 414198 | 235595 | 1807119
2000-01-04 | 670152 | 239692 | 245097 | 340758 | 192249 | 1687948
2000-01-05 | 365956 | 239578 | 272515 | 635579 | 169368 | 1682996
2000-01-06 | 414557 | 238985 | 263156 | 815723 | 177913 | 1910334
2000-01-07 | 536111 | 238628 | 263391 | 752007 | 206169 | 1996306
2000-01-08 | 965391 | 238205 | 260487 | 255840 | 255551 | 1975474
2000-01-09 | 849010 | 230702 | 202720 | 530646 | 229051 | 2042129
2000-01-10 | 1007443 | 227572 | 285556 | 169771 | 246805 | 1937147
2000-01-11 | 930281 | 226713 | 279137 | 165640 | 215149 | 1816920
2000-01-12 | 748960 | 226024 | 203226 | 440937 | 177693 | 1796840
2000-01-13 | 701707 | 204627 | 103356 | 813545 | 186051 | 2009286
2000-01-14 | 910636 | 200485 | 116326 | 476406 | 204043 | 1907896
2000-01-15 | 981705 | 184481 | 80059 | 376979 | 217877 | 1841101
2000-01-16 | 905107 | 168857 | 92770 | 503970 | 218010 | 1888714
2000-01-17 | 944919 | 168896 | 95380 | 446768 | 206394 | 1862357
2000-01-18 | 930370 | 168394 | 96082 | 305775 | 213323 | 1713944
2000-01-19 | 1053714 | 168718 | 148612 | 158224 | 210830 | 1740098
2000-01-20 | 1164073 | 170144 | 129519 | 160404 | 279750 | 1903890
2000-01-21 | 1134985 | 180641 | 160330 | 148582 | 270643 | 1895181
2000-01-22 | 1056054 | 191049 | 232453 | 77807 | 283192 | 1840555
2000-01-23 | 553885 | 196561 | 223992 | 743150 | 181050 | 1898638
2000-01-24 | 325455 | 200082 | 274692 | 815418 | 207653 | 1823300
2000-01-25 | 334079 | 209167 | 272276 | 618126 | 263459 | 1697107
2000-01-26 | 212111 | 211732 | 266775 | 868850 | 156669 | 1716137
2000-01-27 | 307790 | 221637 | 313363 | 767266 | 216896 | 1826952
2000-01-28 | 429689 | 223846 | 279086 | 681240 | 195150 | 1809011
2000-01-29 | 468520 | 216861 | 299329 | 618628 | 242820 | 1846158
2000-01-30 | 739484 | 201608 | 243379 | 397799 | 262073 | 1844343
2000-01-31 | 900290 | 204698 | 245582 | 195018 | 212238 | 1757826
2000-02-01 | 562594 | 205005 | 144936 | 559393 | 194212 | 1666140
2000-02-02 | 581223 | 205764 | 142757 | 460882 | 285212 | 1675838
2000-02-03 | 648811 | 205843 | 71159 | 716866 | 247149 | 1889828
2000-02-04 | 463647 | 201934 | 138316 | 862185 | 241010 | 1907092
2000-02-05 | 889062 | 201002 | 151381 | 352005 | 287600 | 1881050
2000-02-06 | 747420 | 205692 | 195815 | 428826 | 292454 | 1870207
2000-02-07 | 361258 | 205567 | 326465 | 803457 | 205412 | 1902159
2000-02-08 | 685406 | 205677 | 370900 | 231342 | 207708 | 1701033
2000-02-09 | 407512 | 206135 | 274642 | 603930 | 189596 | 1681815
2000-02-10 | 543046 | 206446 | 264730 | 779649 | 173350 | 1967221
2000-02-11 | 728033 | 206654 | 257133 | 544833 | 189082 | 1925735
2000-02-12 | 889483 | 206739 | 210604 | 387224 | 211696 | 1905746
2000-02-13 | 952564 | 206969 | 171170 | 343060 | 225991 | 1899754
2000-02-14 | 927207 | 206813 | 147583 | 443825 | 243427 | 1968855
2000-02-15 | 738843 | 206545 | 248890 | 317153 | 201976 | 1713407
2000-02-16 | 490208 | 206645 | 200720 | 590350 | 220007 | 1707930
2000-02-17 | 877005 | 207302 | 85596 | 556070 | 272756 | 1998729
2000-02-18 | 508106 | 217539 | 154708 | 756070 | 274502 | 1910925
2000-02-19 | 489826 | 223092 | 214914 | 769353 | 200608 | 1897793
2000-02-20 | 240661 | 223600 | 219396 | 937358 | 170527 | 1791542
2000-02-21 | 196505 | 223929 | 257630 | 905951 | 157788 | 1741803
2000-02-22 | 231380 | 224433 | 290534 | 542468 | 228192 | 1517007
2000-02-23 | 226908 | 225011 | 155470 | 963561 | 148986 | 1719936
2000-02-24 | 262197 | 224552 | 308235 | 737569 | 202763 | 1735316
2000-02-25 | 606844 | 226008 | 250074 | 417754 | 294449 | 1795129
2000-02-26 | 709457 | 226811 | 231187 | 365179 | 274253 | 1806887
2000-02-27 | 783121 | 225669 | 165154 | 394292 | 301745 | 1869981
2000-02-28 | 778620 | 203146 | 228700 | 239633 | 326160 | 1776259
2000-02-29 | 486078 | 201349 | 361830 | 237329 | 316328 | 1602914
2000-03-01 | 331344 | 202044 | 311194 | 435014 | 306541 | 1586137
2000-03-02 | 592298 | 202037 | 266665 | 380501 | 316967 | 1758468
2000-03-03 | 410268 | 201680 | 191187 | 666578 | 276061 | 1745774
2000-03-04 | 330506 | 198241 | 251934 | 710996 | 240757 | 1732434
2000-03-05 | 292231 | 197298 | 280628 | 694491 | 235924 | 1700572
2000-03-06 | 590805 | 177529 | 282061 | 374949 | 197243 | 1622587
2000-03-07 | 281300 | 173250 | 349196 | 395825 | 225653 | 1425224
2000-03-08 | 504863 | 173304 | 315070 | 187301 | 231277 | 1411815
2000-03-09 | 544201 | 173024 | 223149 | 629331 | 157763 | 1727468
2000-03-10 | 669749 | 174582 | 210582 | 529166 | 191261 | 1775340
2000-03-11 | 725988 | 175160 | 137920 | 498414 | 267361 | 1804843
2000-03-12 | 875572 | 175039 | 253645 | 195128 | 290321 | 1789705
2000-03-13 | 829371 | 175037 | 287816 | 171706 | 289490 | 1753420
2000-03-14 | 523028 | 175337 | 377964 | 234105 | 296689 | 1607123
2000-03-15 | 493335 | 175103 | 374932 | 254551 | 277895 | 1575816
2000-03-16 | 622092 | 175061 | 322831 | 383067 | 229366 | 1732417
2000-03-17 | 523055 | 174649 | 303757 | 407317 | 309914 | 1718692
2000-03-18 | 839743 | 173957 | 338144 | 62095 | 308913 | 1722852
2000-03-19 | 519705 | 174117 | 285340 | 350530 | 283336 | 1613028
2000-03-20 | 193668 | 174150 | 326026 | 803999 | 147461 | 1645304
2000-03-21 | 313559 | 165626 | 360303 | 397437 | 163069 | 1399994
2000-03-22 | 519783 | 171125 | 349264 | 268747 | 127491 | 1436410
2000-03-23 | 660820 | 181810 | 262960 | 358259 | 209755 | 1673604
2000-03-24 | 649313 | 183593 | 328336 | 292746 | 179004 | 1632992
2000-03-25 | 558332 | 176048 | 265815 | 411044 | 232159 | 1643398
2000-03-26 | 290266 | 183267 | 252430 | 727842 | 171633 | 1625438
2000-03-27 | 266891 | 166453 | 277959 | 673699 | 209921 | 1594923
2000-03-28 | 203400 | 172763 | 192144 | 785100 | 204206 | 1557613
2000-03-29 | 264161 | 180319 | 264237 | 512887 | 263467 | 1485071
2000-03-30 | 574578 | 182623 | 284152 | 184891 | 286620 | 1512864
2000-03-31 | 101233527 | 36228400 | 40329704 | 91747109 | 38796855 | 308335595
Source NESO
Other Sources = Hydro,Other,Biomass,Solar, coal, & Storage

## Figures 10-11
Contents Page
Source | Elexon | [6 empty] | Figure 10 | [8 empty] | Figure 11
[8 empty] | Half hourly gas power output (GW) – 12 December 2024 | [8 empty] | Half hourly gas power output (GW) – 05 February 2025
Date | Period | Date/Time | Time | NTS | NTS-IND | OTHER | LDZ |  | Date | Period | Date/Time | Time | NTS | NTS-IND | OTHER | LDZ
2024-12-12 | 1 | 2024-12-12 | 45638 | 22477 | 94 | 62 | 765 |  | 2025-02-05 | 1 | 2025-02-05 | 45638 | 2727 | 88 | -1 | 127
2024-12-12 | 2 | 2024-12-12 00:30 | 45638.0208 | 22476.5 | 94 | 62 | 765 |  | 2025-02-05 | 2 | 2025-02-05 00:30 | 45638.0208 | 2729 | 88 | -1 | 127
2024-12-12 | 3 | 2024-12-12 01:00 | 45638.0417 | 22471.5 | 94 | 62 | 765 |  | 2025-02-05 | 3 | 2025-02-05 01:00 | 45638.0417 | 2731 | 88 | -1 | 127
2024-12-12 | 4 | 2024-12-12 01:30 | 45638.0625 | 21914.6667 | 94 | 62 | 765 |  | 2025-02-05 | 4 | 2025-02-05 01:30 | 45638.0625 | 2731 | 88 | -1 | 127
2024-12-12 | 5 | 2024-12-12 02:00 | 45638.0833 | 21988.5 | 94 | 63 | 765 |  | 2025-02-05 | 5 | 2025-02-05 02:00 | 45638.0833 | 2338 | 88 | -1 | 80
2024-12-12 | 6 | 2024-12-12 02:30 | 45638.1042 | 22169.5 | 94 | 63 | 765 |  | 2025-02-05 | 6 | 2025-02-05 02:30 | 45638.1042 | 2371 | 88 | -1 | 0
2024-12-12 | 7 | 2024-12-12 03:00 | 45638.125 | 22166.5 | 94 | 63 | 765 |  | 2025-02-05 | 7 | 2025-02-05 03:00 | 45638.125 | 2404 | 88 | -1 | 0
2024-12-12 | 8 | 2024-12-12 03:30 | 45638.1458 | 22164.5 | 94 | 63 | 765 |  | 2025-02-05 | 8 | 2025-02-05 03:30 | 45638.1458 | 2650 | 88 | -2 | 0
2024-12-12 | 9 | 2024-12-12 04:00 | 45638.1667 | 22295 | 94 | 63 | 765 |  | 2025-02-05 | 9 | 2025-02-05 04:00 | 45638.1667 | 2927 | 88 | -2 | 66
2024-12-12 | 10 | 2024-12-12 04:30 | 45638.1875 | 22750.8333 | 94 | 63 | 765 |  | 2025-02-05 | 10 | 2025-02-05 04:30 | 45638.1875 | 3266.5 | 88 | -1.5 | 100
2024-12-12 | 11 | 2024-12-12 05:00 | 45638.2083 | 23370.5 | 96 | 63 | 765 |  | 2025-02-05 | 11 | 2025-02-05 05:00 | 45638.2083 | 4214.3667 | 88 | -1 | 241
2024-12-12 | 12 | 2024-12-12 05:30 | 45638.2292 | 23909.6667 | 96 | 110.2 | 765 |  | 2025-02-05 | 12 | 2025-02-05 05:30 | 45638.2292 | 7236.3833 | 88 | -1 | 288.5
2024-12-12 | 13 | 2024-12-12 06:00 | 45638.25 | 24690.4167 | 101 | 275 | 765 |  | 2025-02-05 | 13 | 2025-02-05 06:00 | 45638.25 | 11316.3333 | 88 | 0 | 575.5
2024-12-12 | 14 | 2024-12-12 06:30 | 45638.2708 | 25647.6667 | 101 | 671 | 920 |  | 2025-02-05 | 14 | 2025-02-05 06:30 | 45638.2708 | 14319 | 88 | 0 | 760
2024-12-12 | 15 | 2024-12-12 07:00 | 45638.2917 | 25882.5 | 101 | 830 | 1007 |  | 2025-02-05 | 15 | 2025-02-05 07:00 | 45638.2917 | 15247 | 88 | 76 | 839
2024-12-12 | 16 | 2024-12-12 07:30 | 45638.3125 | 26135 | 104 | 1088 | 1051 |  | 2025-02-05 | 16 | 2025-02-05 07:30 | 45638.3125 | 15264 | 88 | 153 | 843
2024-12-12 | 17 | 2024-12-12 08:00 | 45638.3333 | 26184.5 | 104 | 1084 | 1051 |  | 2025-02-05 | 17 | 2025-02-05 08:00 | 45638.3333 | 15288.5 | 88 | 6 | 845
2024-12-12 | 18 | 2024-12-12 08:30 | 45638.3542 | 26206.5 | 104 | 1104 | 1051 |  | 2025-02-05 | 18 | 2025-02-05 08:30 | 45638.3542 | 15337.5 | 88 | 6 | 845
2024-12-12 | 19 | 2024-12-12 09:00 | 45638.375 | 26196 | 104 | 1331 | 1051 |  | 2025-02-05 | 19 | 2025-02-05 09:00 | 45638.375 | 15373.5 | 88 | 11 | 850
2024-12-12 | 20 | 2024-12-12 09:30 | 45638.3958 | 26175.5 | 104 | 1380 | 1051 |  | 2025-02-05 | 20 | 2025-02-05 09:30 | 45638.3958 | 15375.25 | 88 | 11 | 850
2024-12-12 | 21 | 2024-12-12 10:00 | 45638.4167 | 25727.8333 | 104 | 1382 | 1049 |  | 2025-02-05 | 21 | 2025-02-05 10:00 | 45638.4167 | 15374.5 | 88 | 5 | 850
2024-12-12 | 22 | 2024-12-12 10:30 | 45638.4375 | 25717 | 104 | 1313 | 1077 |  | 2025-02-05 | 22 | 2025-02-05 10:30 | 45638.4375 | 15381.5 | 88 | 5 | 850
2024-12-12 | 23 | 2024-12-12 11:00 | 45638.4583 | 25730.5 | 104 | 1281 | 1047 |  | 2025-02-05 | 23 | 2025-02-05 11:00 | 45638.4583 | 15365 | 88 | -1 | 848
2024-12-12 | 24 | 2024-12-12 11:30 | 45638.4792 | 25725.1667 | 104 | 1288 | 1047 |  | 2025-02-05 | 24 | 2025-02-05 11:30 | 45638.4792 | 15421.7667 | 88 | -1 | 848
2024-12-12 | 25 | 2024-12-12 12:00 | 45638.5 | 25703.5 | 104 | 1277 | 1047 |  | 2025-02-05 | 25 | 2025-02-05 12:00 | 45638.5 | 15249.7333 | 88 | -1 | 846
2024-12-12 | 26 | 2024-12-12 12:30 | 45638.5208 | 25329.4167 | 104 | 1141 | 1047 |  | 2025-02-05 | 26 | 2025-02-05 12:30 | 45638.5208 | 15332.7667 | 88 | -2 | 846
2024-12-12 | 27 | 2024-12-12 13:00 | 45638.5417 | 24359.25 | 104 | 1297 | 1103 |  | 2025-02-05 | 27 | 2025-02-05 13:00 | 45638.5417 | 15495 | 88 | -2 | 846
2024-12-12 | 28 | 2024-12-12 13:30 | 45638.5625 | 24364.5 | 104 | 1222 | 1137 |  | 2025-02-05 | 28 | 2025-02-05 13:30 | 45638.5625 | 16655.4 | 88 | -2 | 846
2024-12-12 | 29 | 2024-12-12 14:00 | 45638.5833 | 24368 | 104 | 1383 | 1137 |  | 2025-02-05 | 29 | 2025-02-05 14:00 | 45638.5833 | 17800.8 | 88 | -2 | 846
2024-12-12 | 30 | 2024-12-12 14:30 | 45638.6042 | 23989.3333 | 104 | 1382 | 1137 |  | 2025-02-05 | 30 | 2025-02-05 14:30 | 45638.6042 | 19769.0667 | 88 | -2 | 846
2024-12-12 | 31 | 2024-12-12 15:00 | 45638.625 | 23772 | 104 | 1391 | 1137 |  | 2025-02-05 | 31 | 2025-02-05 15:00 | 45638.625 | 21291.6667 | 88 | -2 | 846
2024-12-12 | 32 | 2024-12-12 15:30 | 45638.6458 | 23902.1667 | 104 | 1400 | 1137 |  | 2025-02-05 | 32 | 2025-02-05 15:30 | 45638.6458 | 21781.1667 | 88 | 105 | 846
2024-12-12 | 33 | 2024-12-12 16:00 | 45638.6667 | 24019.5 | 104 | 1403 | 1137 |  | 2025-02-05 | 33 | 2025-02-05 16:00 | 45638.6667 | 23053.3333 | 88 | 538 | 868
2024-12-12 | 34 | 2024-12-12 16:30 | 45638.6875 | 24025.6667 | 104 | 1403 | 1137 |  | 2025-02-05 | 34 | 2025-02-05 16:30 | 45638.6875 | 23187 | 88 | 646.6667 | 868
2024-12-12 | 35 | 2024-12-12 17:00 | 45638.7083 | 24040.5 | 104 | 1394 | 1137 |  | 2025-02-05 | 35 | 2025-02-05 17:00 | 45638.7083 | 23217.8333 | 88 | 753 | 868
2024-12-12 | 36 | 2024-12-12 17:30 | 45638.7292 | 24041 | 104 | 1394 | 1137 |  | 2025-02-05 | 36 | 2025-02-05 17:30 | 45638.7292 | 23297.5 | 88 | 824 | 868
2024-12-12 | 37 | 2024-12-12 18:00 | 45638.75 | 24044 | 104 | 1410 | 1137 |  | 2025-02-05 | 37 | 2025-02-05 18:00 | 45638.75 | 23313 | 88 | 858 | 870
2024-12-12 | 38 | 2024-12-12 18:30 | 45638.7708 | 24037.5 | 104 | 1401 | 1093 |  | 2025-02-05 | 38 | 2025-02-05 18:30 | 45638.7708 | 23339.5 | 88 | 712 | 870
2024-12-12 | 39 | 2024-12-12 19:00 | 45638.7917 | 24027 | 104 | 1199 | 1030 |  | 2025-02-05 | 39 | 2025-02-05 19:00 | 45638.7917 | 23359.5 | 88 | 239 | 850
2024-12-12 | 40 | 2024-12-12 19:30 | 45638.8125 | 23926 | 104 | 982 | 933 |  | 2025-02-05 | 40 | 2025-02-05 19:30 | 45638.8125 | 23374.5 | 88 | 148 | 850
2024-12-12 | 41 | 2024-12-12 20:00 | 45638.8333 | 23265.25 | 96 | 426 | 933 |  | 2025-02-05 | 41 | 2025-02-05 20:00 | 45638.8333 | 23362.5 | 88 | 142 | 852
2024-12-12 | 42 | 2024-12-12 20:30 | 45638.8542 | 22994.5 | 96 | 384 | 933 |  | 2025-02-05 | 42 | 2025-02-05 20:30 | 45638.8542 | 22860.6667 | 88 | 4 | 852
2024-12-12 | 43 | 2024-12-12 21:00 | 45638.875 | 22669.7333 | 96 | 282 | 933 |  | 2025-02-05 | 43 | 2025-02-05 21:00 | 45638.875 | 22154.5 | 88 | -2 | 854
2024-12-12 | 44 | 2024-12-12 21:30 | 45638.8958 | 22609 | 96 | 114 | 933 |  | 2025-02-05 | 44 | 2025-02-05 21:30 | 45638.8958 | 20359.5167 | 88 | -2 | 854
2024-12-12 | 45 | 2024-12-12 22:00 | 45638.9167 | 22562 | 96 | 121 | 933 |  | 2025-02-05 | 45 | 2025-02-05 22:00 | 45638.9167 | 18346.25 | 88 | -3 | 854
2024-12-12 | 46 | 2024-12-12 22:30 | 45638.9375 | 22325 | 96 | 19.25 | 933 |  | 2025-02-05 | 46 | 2025-02-05 22:30 | 45638.9375 | 17103.8333 | 88 | -3 | 854
2024-12-12 | 47 | 2024-12-12 23:00 | 45638.9583 | 22047 | 96 | 1 | 763 |  | 2025-02-05 | 47 | 2025-02-05 23:00 | 45638.9583 | 15567.5 | 88 | -1 | 610
2024-12-12 | 48 | 2024-12-12 23:30 | 45638.9792 | 22094 | 96 | 1 | 763 |  | 2025-02-05 | 48 | 2025-02-05 23:30 | 45638.9792 | 15374.5 | 88 | 0 | 477.5

## Figures 12-13
Contents Page
| Figure 12 |  | Figure 13
| GB LNG imports Winters 2020/21 – 2025/26 (bcm) |  | Global LNG Liquefaction capacity additions (bcm)
Source: IEA.
| GB LNG imports Winters 2020/21 – 2025/26 (bcm) |  | Global LNG Liquefaction capacity additions (bcm)
| Gas Year | LNG Import | Year | United States | Qatar | Canada | Australia | Nigeria | Malaysia | Other Americas | Other Africa | Total
| 2020/21 Actual | 8.8886 | 2025 | 23 | 0 | 5.6 | 0 | 0 | 0 | 1.3 | 3.2 | 33.1
| 2021/22 Actual | 11.4071 | 2026 | 23.3 | 8.2 | 13.5 | 3.4 | 0 | 0 | 3 | 4.1 | 55.5
| 2022/23 Actual | 15.7018 | 2027 | 23.4 | 32.6 | 0 | 3.4 | 5.5 | 1.4 | 3.2 | 0.5 | 70
| 2023/24 Actual | 8.2817
| 2024/25 Actual | 9.78
| 2025/26 Forecast | 10.5

## Figure 14
Contents Page
Figure 14
NBP-TTF monthly future contract spreads, with interconnector tariff thresholds
Source: Argus
| Oct | Nov | Dec | Jan | Feb | Mar
Future Monthly Contracts (03/09/2025) | -3.088 | 0.776 | 3.318 | 3.723 | 3.272 | 0.529
Future Monthly Contracts (03/09/2024) | -2.632 | 1.2705 | 3.3372 | 4.2209 | 4.3305 | 2.337
Import/Export Tariff threshold | 4.86 | 4.86 | 4.86 | 4.86 | 4.86 | 4.86
Import/Export Tariff threshold | -1.837 | -1.837 | -1.837 | -1.837 | -1.837 | -1.837
Import to GB
Export to the EU

## Figure 15 & Table 10
Contents Page
Table 10 |  |  |  | Table I
European demand and flexible supply under average, cold and supply loss conditions
bcm | Demand | Unused LNG Capacity (existing) | Storage Stocks (remaining | TWh | Demand | Unused LNG Capacity (existing) | Storage Stocks (remaining
Avg Winter | 215.2299 | 61.8541 | 43.9345 | Avg Winter | 2367.5288 | 680.3947 | 483.2792
Cold Winter -LNG Primary responder | 247.5144 | 35.2739 | 38.2301 | Cold Winter -LNG Primary responder | 2722.6581 | 388.0132 | 420.5314
Cold Winter- balanced response | 247.5144 | 46.0745 | 27.4295 | Cold Winter- balanced response | 2722.6581 | 506.8199 | 301.7246
Figure 15
EU storage under average, cold and supply loss conditions
Source | AGSI/Woodmac/ENTSOG
[5 empty] | Oct | Nov | Dec | Jan | Feb | Mar
|  |  |  | Avg Winter | 92.3909 | 88.776 | 79.7507 | 63.9775 | 49.3708 | 43.9345
|  |  |  | Cold Winter | 91.654 | 86.5337 | 75.3022 | 58.4968 | 43.2653 | 38.2301
|  |  |  | Cold Winter + Early Loss | 88.618 | 81.1995 | 67.3919 | 49.6667 | 33.5741 | 27.4295
|  |  |  | Winter 2024/25 Actual (monthly Avg) | 99.3398 | 88.7754 | 74.9201 | 55.4329 | 39.8499 | 35.2452
[5 empty] | 10 | 11 | 12 | 1 | 2 | 3
[5 empty] | Oct | Nov | Dec | Jan | Feb | Mar
|  |  |  | 5-year min | 78.2797 | 68.2359 | 54.584 | 37.753 | 29.0925 | 26.7179
|  |  |  | 5-year max | 103.0155 | 98.2311 | 89.3476 | 73.1704 | 64.5678 | 60.8283
|  |  |  | 5-year range | 24.7358 | 29.9952 | 34.7635 | 35.4173 | 35.4752 | 34.1104

## Table 11, 12, 13 and Figure 16
Contents Page
Gas Day | GB & Moffat demand | UKCS | Norway | LNG | Storage withdrawal | Storage injection | NTS demand | Continental Europe Imports | Continental Europe exports | Figure 16
2022-10-01 | 146.98 | 82.27 | 58.5 | 63.94 | 0 | 47.72 | 204.7 | 0 | -10
2022-10-02 | 177.89 | 82.65 | 52.5 | 78.84 | 0 | 26.1 | 213.99 | 0 | -10
2022-10-03 | 188.61 | 82.46 | 63.1 | 78.97 | 0 | 25.91 | 224.52 | 0 | -10
2022-10-04 | 154.33 | 80.37 | 63.8 | 65.55 | 0 | 45.39 | 209.72 | 0 | -10
2022-10-05 | 130.96 | 81.03 | 63.7 | 51.4 | 0 | 55.18 | 196.14 | 0 | -10
2022-10-06 | 126.58 | 83.79 | 66.7 | 42.55 | 0 | 56.47 | 193.05 | 0 | -10 | [7 empty] | l
2022-10-07 | 152.37 | 83.89 | 70.1 | 37.59 | 0 | 29.21 | 191.58 | 0 | -10
2022-10-08 | 140.14 | 86.07 | 75.1 | 19.23 | 0 | 30.26 | 180.4 | 0 | -10
2022-10-09 | 143.44 | 88.25 | 71.2 | 11.39 | 0 | 17.4 | 170.84 | 0 | -10
2022-10-10 | 135.08 | 87.78 | 73.9 | 4 | 0 | 15.95 | 165.67 | 0 | -14.64
2022-10-11 | 123.53 | 86.07 | 77.3 | 4 | 0 | 15.82 | 167.37 | 0 | -28.02
2022-10-12 | 152.43 | 86.07 | 70.6 | 19.92 | 0 | 14.17 | 176.6 | 0 | -10
2022-10-13 | 172.1 | 84.93 | 76.1 | 30.72 | 0 | 9.65 | 191.75 | 0 | -10
2022-10-14 | 194.32 | 82.08 | 79.8 | 51.2 | 0 | 8.76 | 213.08 | 0 | -10
2022-10-15 | 191.46 | 80.57 | 81.59 | 48.19 | 0 | 8.89 | 210.35 | 0 | -10
2022-10-16 | 182.99 | 79.81 | 82.99 | 39.46 | 0 | 9.27 | 202.26 | 0 | -10
2022-10-17 | 193.19 | 75.44 | 80.59 | 55.73 | 0 | 8.57 | 211.76 | 0 | -10
2022-10-18 | 179.82 | 76.77 | 78.49 | 43.65 | 0 | 9.09 | 198.91 | 0 | -10
2022-10-19 | 157.53 | 81.61 | 84.9 | 15.41 | 0 | 14.39 | 181.92 | 0 | -10
2022-10-20 | 184.65 | 82.94 | 84.1 | 36.99 | 0 | 9.38 | 204.03 | 0 | -10
2022-10-21 | 233.14 | 77.04 | 89.5 | 80.37 | 0 | 3.78 | 246.92 | 0 | -10
2022-10-22 | 216.15 | 76.86 | 91 | 66.4 | 0 | 8.11 | 234.26 | 0 | -10
2022-10-23 | 210.67 | 80.66 | 86.6 | 61.72 | 0 | 8.31 | 228.98 | 0 | -10
2022-10-24 | 203.49 | 80.47 | 88.2 | 53.49 | 0 | 8.66 | 222.15 | 0 | -10
2022-10-25 | 184.68 | 79.99 | 92.6 | 31.69 | 0 | 9.61 | 204.29 | 0 | -10
2022-10-26 | 176.66 | 73.62 | 92.9 | 29.82 | 0 | 9.69 | 196.35 | 0 | -10
2022-10-27 | 206.18 | 83.5 | 83.1 | 58.04 | 0 | 8.47 | 224.65 | 0 | -10
2022-10-28 | 275.94 | 78.18 | 84.7 | 90.01 | 33.04 | 0 | 285.94 | 0 | -10
2022-10-29 | 273.72 | 79.99 | 84 | 87.39 | 32.34 | 0 | 283.72 | 0 | -10
2022-10-30 | 254.33 | 84.17 | 86.8 | 85 | 8.36 | 0 | 264.33 | 0 | -10
2022-10-31 | 246.7 | 83.32 | 79.1 | 85 | 9.28 | 0 | 256.7 | 0 | -10
2022-11-01 | 181.13 | 82.08 | 82.8 | 63.95 | 0 | 47.7 | 228.83 | 0 | 0
2022-11-02 | 175.47 | 82.84 | 88.9 | 53.64 | 0 | 49.9 | 225.37 | 0 | 0
2022-11-03 | 201.33 | 81.13 | 89.7 | 45.7 | 0 | 15.19 | 216.52 | 0 | 0 |  | Table 11 | [6 empty] | Table 12
2022-11-04 | 219.76 | 71.34 | 88.1 | 68.33 | 0 | 8.02 | 227.78 | 0 | 0 |  | Compare scenario demand with central forecast (bcm) | [6 empty] | Compare scenario supply with central forecast (bcm)
2022-11-05 | 240.43 | 69.06 | 84.4 | 85 | 1.96 | 0 | 240.43 | 0 | 0 |  | Demand Breakdown | Scenario | Winter Outlook Forecast |  |  |  |  | Supply Breakdown | Scenario | Winter Outlook Forecast
2022-11-06 | 272.4 | 67.07 | 94.5 | 85 | 25.83 | 0 | 272.4 | 0 | 0 |  | NDM | 27.1185 | 27.1988 |  |  |  |  | UKCS | 14.6458 | 14.5167 | UKCS | 14645.78
2022-11-07 | 236.36 | 77.24 | 98.39 | 82.09 | 0 | 21.37 | 257.73 | 0 | 0 |  | DM+Ind | 4.33 | 4.3332 |  |  |  |  | Norway | 16.1125 | 16.0326 | Norway | 16112.49
2022-11-08 | 259.51 | 75.81 | 101.9 | 85 | 0 | 3.2 | 262.71 | 0 | 0 |  | Power | 7.6262 | 7.6142 |  |  |  |  | LNG | 12.7244 | 10.468 | LNG | 12724.45
2022-11-09 | 256.13 | 80.66 | 111.1 | 81.96 | 0 | 17.58 | 273.71 | 0 | 0 |  | Ireland | 3.3322 | 3.3361 |  |  |  |  | Continental Imports | 0 | 0.59958 | IUK/BBL | 0
2022-11-10 | 255.87 | 84.36 | 110.4 | 70.93 | 0 | 9.82 | 265.69 | 0 | 0 |  | Continental Exports | 0.33266 | 0.26795 | Exports | 332.66 | 0.33266 |  | Net Storage Withdrawal | 1.3593 | 2.7283 | Storage | 1359.28
2022-11-11 | 247.03 | 85.78 | 110.5 | 59.16 | 0 | 8.42 | 255.45 | 0 | 0 |  | Storage Injection | 2.1006 | 2.0723 | Injection | 2100.6 | 2.1006 |  | Total | 44.842 | 44.3452
2022-11-12 | 257.05 | 84.83 | 110.7 | 69.49 | 0 | 7.97 | 265.02 | 0 | 0 |  | Total | 44.8402 | 44.8224
2022-11-13 | 276.54 | 80.75 | 111.2 | 84.77 | 0 | 0.19 | 276.73 | 0 | 0
2022-11-14 | 284.04 | 74.19 | 111.2 | 85 | 13.64 | 0 | 284.04 | 0 | 0
2022-11-15 | 262.12 | 76.47 | 110.9 | 85 | 0 | 10.26 | 272.38 | 0 | 0
2022-11-16 | 273.06 | 79.43 | 100.49 | 85 | 8.14 | 0 | 273.06 | 0 | 0
2022-11-17 | 273.94 | 81.23 | 94.69 | 85 | 13.02 | 0 | 273.94 | 0 | 0
2022-11-18 | 318.2 | 78.85 | 103.6 | 100 | 35.75 | 0 | 318.2 | 0 | 0
2022-11-19 | 327.95 | 75.53 | 111.3 | 100 | 41.12 | 0 | 327.95 | 0 | 0
2022-11-20 | 292.53 | 81.61 | 106.3 | 85 | 19.63 | 0 | 292.53 | 0 | 0 |  | Table 13
2022-11-21 | 287.83 | 81.03 | 100.1 | 85 | 21.7 | 0 | 287.83 | 0 | 0 |  | Interesting days breakdown (Highest two demand days – 21 Jan and 5 March)
2022-11-22 | 243.07 | 81.98 | 104.6 | 80.37 | 0 | 23.88 | 266.95 | 0 | 0
2022-11-23 | 221.07 | 84.74 | 91.6 | 75.57 | 0 | 30.84 | 251.91 | 0 | 0 |  |  | 21st Jan | 5th March
2022-11-24 | 231.79 | 81.98 | 84.1 | 84.13 | 0 | 18.42 | 250.21 | 0 | 0 |  | Supply Breakdown | Peak (mcm/d) | High Storage (mcm/d)
2022-11-25 | 236.49 | 80.18 | 86.3 | 85 | 0 | 14.99 | 251.48 | 0 | 0 |  | UKCS | 84.94 | 81.03
2022-11-26 | 211.69 | 79.33 | 87 | 75.83 | 0 | 30.47 | 242.16 | 0 | 0 |  | Norway | 108.39 | 80
2022-11-27 | 227.91 | 78.85 | 90.8 | 81.09 | 0 | 22.83 | 250.74 | 0 | 0 |  | LNG | 100 | 100
2022-11-28 | 240.25 | 78.47 | 88 | 85 | 0 | 11.22 | 251.47 | 0 | 0 |  | IUK/BBL | 0 | 0
2022-11-29 | 270.7 | 78 | 80.4 | 85 | 27.3 | 0 | 270.7 | 0 | 0 |  | Storage | 48.86 | 70.94
2022-11-30 | 284.09 | 80.08 | 80 | 87.01 | 37 | 0 | 284.09 | 0 | 0 |  | Demand | 342.18 | 331.97
2022-12-01 | 300.59 | 79.42 | 80 | 97.24 | 43.93 | 0 | 300.59 | 0 | 0
2022-12-02 | 328.29 | 78.28 | 81.3 | 100 | 68.71 | 0 | 328.29 | 0 | 0
2022-12-03 | 306.21 | 84.46 | 96.7 | 87.67 | 37.39 | 0 | 306.21 | 0 | 0
2022-12-04 | 292.74 | 81.89 | 91.9 | 85 | 33.95 | 0 | 292.74 | 0 | 0
2022-12-05 | 262.9 | 75.9 | 90.3 | 85 | 11.7 | 0 | 262.9 | 0 | 0
2022-12-06 | 208.35 | 76.57 | 91.7 | 73.67 | 0 | 33.6 | 241.95 | 0 | 0
2022-12-07 | 193.22 | 77.71 | 93.8 | 66.18 | 0 | 44.47 | 237.69 | 0 | 0
2022-12-08 | 212.43 | 74.19 | 92.8 | 75.86 | 0 | 30.42 | 242.85 | 0 | 0
2022-12-09 | 249.54 | 76.57 | 84.2 | 85 | 3.77 | 0 | 249.54 | 0 | 0
2022-12-10 | 243.21 | 77.42 | 87.5 | 85 | 0 | 6.72 | 249.93 | 0 | 0
2022-12-11 | 270.53 | 81.7 | 89.2 | 85 | 14.63 | 0 | 270.53 | 0 | 0
2022-12-12 | 288.61 | 82.17 | 89.6 | 85 | 31.83 | 0 | 288.61 | 0 | 0
2022-12-13 | 247.92 | 77.52 | 80.1 | 85 | 5.3 | 0 | 247.92 | 0 | 0
2022-12-14 | 231.89 | 80.94 | 77.9 | 85 | 0 | 11.95 | 243.84 | 0 | 0
2022-12-15 | 252.7 | 77.33 | 79.9 | 85 | 10.47 | 0 | 252.7 | 0 | 0
2022-12-16 | 289.45 | 79.42 | 85.5 | 87.41 | 37.11 | 0 | 289.45 | 0 | 0
2022-12-17 | 323.61 | 79.14 | 80 | 100 | 64.47 | 0 | 323.61 | 0 | 0
2022-12-18 | 274.8 | 78.47 | 80.8 | 85 | 30.53 | 0 | 274.8 | 0 | 0
2022-12-19 | 229.94 | 76.1 | 81 | 85 | 0 | 12.15 | 242.09 | 0 | 0
2022-12-20 | 237.7 | 75.72 | 82.4 | 85 | 0 | 5.42 | 243.12 | 0 | 0
2022-12-21 | 228.92 | 82.56 | 83.8 | 82.85 | 0 | 20.28 | 249.2 | 0 | 0
2022-12-22 | 237.43 | 83.5 | 84.2 | 85 | 0 | 15.28 | 252.71 | 0 | 0
2022-12-23 | 226.77 | 83.43 | 86.08 | 80.68 | 0 | 23.42 | 250.19 | 0 | 0
2022-12-24 | 215.5 | 84.93 | 82.8 | 76.81 | 0 | 29.04 | 244.54 | 0 | 0
2022-12-25 | 214.35 | 84.84 | 82.59 | 76.46 | 0 | 29.55 | 243.9 | 0 | 0
2022-12-26 | 214.72 | 82.75 | 87.99 | 73.47 | 0 | 29.5 | 244.22 | 0 | 0
2022-12-27 | 220.17 | 86.27 | 85.99 | 69.87 | 0 | 21.96 | 242.13 | 0 | 0
2022-12-28 | 195.68 | 86.74 | 86.7 | 59.4 | 0 | 37.15 | 232.83 | 0 | 0
2022-12-29 | 203.26 | 86.45 | 82.5 | 64.32 | 0 | 30.01 | 233.27 | 0 | 0
2022-12-30 | 221.8 | 84.55 | 87.3 | 70.7 | 0 | 20.75 | 242.55 | 0 | 0
2022-12-31 | 241.17 | 85.88 | 82.1 | 80.18 | 0 | 6.99 | 248.16 | 0 | 0
2023-01-01 | 219.03 | 86.64 | 81.5 | 71.08 | 0 | 20.2 | 239.23 | 0 | 0
2023-01-02 | 223.55 | 84.74 | 86.2 | 71.78 | 0 | 19.18 | 242.73 | 0 | 0
2023-01-03 | 214.08 | 79.99 | 102.7 | 63.13 | 0 | 31.74 | 245.82 | 0 | 0
2023-01-04 | 213.36 | 80.66 | 100.4 | 58.65 | 0 | 26.35 | 239.71 | 0 | 0
2023-01-05 | 221.46 | 82.27 | 96.8 | 55.1 | 0 | 12.71 | 234.17 | 0 | 0
2023-01-06 | 234.01 | 83.22 | 99.1 | 61.63 | 0 | 9.93 | 243.94 | 0 | 0
2023-01-07 | 214.92 | 78 | 98.9 | 52.03 | 0 | 14.01 | 228.93 | 0 | 0
2023-01-08 | 244.87 | 73.15 | 104.6 | 71.26 | 0 | 4.13 | 249 | 0 | 0
2023-01-09 | 248.62 | 75.14 | 112 | 65.99 | 0 | 4.51 | 253.13 | 0 | 0
2023-01-10 | 233.24 | 75.15 | 96.59 | 66.01 | 0 | 4.51 | 237.75 | 0 | 0
2023-01-11 | 199.77 | 74.1 | 107.7 | 30.57 | 0 | 12.6 | 212.37 | 0 | 0
2023-01-12 | 219.66 | 75.24 | 104.3 | 44.83 | 0 | 4.71 | 224.37 | 0 | 0
2023-01-13 | 238.71 | 76.67 | 105.1 | 58.1 | 0 | 1.16 | 239.87 | 0 | 0
2023-01-14 | 228.88 | 80.28 | 104.5 | 45.79 | 0 | 1.69 | 230.57 | 0 | 0
2023-01-15 | 225.56 | 79.14 | 91.59 | 56.07 | 0 | 1.25 | 226.81 | 0 | 0
2023-01-16 | 217.77 | 80 | 96.29 | 43.28 | 0 | 1.8 | 219.57 | 0 | 0
2023-01-17 | 236.18 | 80.57 | 93.19 | 63.35 | 0 | 0.94 | 237.12 | 0 | 0
2023-01-18 | 244.98 | 80.76 | 109.49 | 55.98 | 0 | 1.25 | 246.23 | 0 | 0
2023-01-19 | 281.41 | 80.66 | 109.29 | 85 | 6.45 | 0 | 281.41 | 0 | 0
2023-01-20 | 337.2 | 79.33 | 109.29 | 100 | 48.57 | 0 | 337.2 | 0 | 0
2023-01-21 | 342.18 | 84.94 | 108.39 | 100 | 48.86 | 0 | 342.18 | 0 | 0
2023-01-22 | 326.34 | 88.83 | 106.49 | 90.51 | 40.51 | 0 | 326.34 | 0 | 0
2023-01-23 | 318.45 | 86.27 | 99.09 | 91.5 | 41.59 | 0 | 318.45 | 0 | 0
2023-01-24 | 286.86 | 82.84 | 100.3 | 85 | 18.72 | 0 | 286.86 | 0 | 0
2023-01-25 | 239.39 | 80.08 | 107 | 71.66 | 0 | 19.36 | 258.75 | 0 | 0
2023-01-26 | 240.02 | 79.8 | 104.1 | 73.22 | 0 | 17.1 | 257.12 | 0 | 0
2023-01-27 | 267.84 | 79.89 | 106.4 | 83.59 | 0 | 2.04 | 269.88 | 0 | 0
2023-01-28 | 276.77 | 79.43 | 106.99 | 85 | 5.35 | 0 | 276.77 | 0 | 0
2023-01-29 | 251.14 | 80.75 | 112.1 | 74.1 | 0 | 15.81 | 266.95 | 0 | 0
2023-01-30 | 224.9 | 79.23 | 112.6 | 63.81 | 0 | 30.75 | 255.65 | 0 | 0
2023-01-31 | 193.59 | 83.12 | 113 | 44.78 | 0 | 47.31 | 240.9 | 0 | 0
2023-02-01 | 195.7 | 85.22 | 108.9 | 45.32 | 0 | 43.74 | 239.44 | 0 | 0
2023-02-02 | 205.96 | 85.97 | 109.9 | 36.59 | 0 | 26.5 | 232.46 | 0 | 0
2023-02-03 | 228.9 | 82.75 | 109.4 | 48.72 | 0 | 11.96 | 240.86 | 0 | 0
2023-02-04 | 250.01 | 78.75 | 102.6 | 71.65 | 0 | 3 | 253.01 | 0 | 0
2023-02-05 | 290.18 | 81.32 | 110.9 | 85 | 12.96 | 0 | 290.18 | 0 | 0
2023-02-06 | 295.96 | 78.75 | 112.7 | 85 | 19.5 | 0 | 295.96 | 0 | 0
2023-02-07 | 237.94 | 83.89 | 104.89 | 70.38 | 0 | 21.22 | 259.16 | 0 | 0
2023-02-08 | 214.1 | 84.64 | 96.5 | 48.54 | 0 | 15.58 | 229.68 | 0 | 0
2023-02-09 | 226.17 | 79.99 | 94.5 | 56.9 | 0 | 5.22 | 231.39 | 0 | 0
2023-02-10 | 253.36 | 79.89 | 98.3 | 76.42 | 0 | 1.26 | 254.62 | 0 | 0
2023-02-11 | 264.3 | 78.09 | 98.9 | 85 | 2.31 | 0 | 264.3 | 0 | 0
2023-02-12 | 269.47 | 73.92 | 93.39 | 85 | 17.16 | 0 | 269.47 | 0 | 0
2023-02-13 | 283.25 | 78.75 | 85 | 87.21 | 32.29 | 0 | 283.25 | 0 | 0
2023-02-14 | 229.69 | 79.99 | 87.8 | 75.45 | 0 | 13.55 | 243.24 | 0 | 0
2023-02-15 | 193.54 | 80.37 | 84.9 | 60.22 | 0 | 31.95 | 225.49 | 0 | 0
2023-02-16 | 222.39 | 81.33 | 85.09 | 62.19 | 0 | 6.23 | 228.62 | 0 | 0
2023-02-17 | 230.26 | 83.69 | 84.4 | 62.51 | 0 | 0.34 | 230.6 | 0 | 0
2023-02-18 | 243.8 | 82.27 | 84 | 77.64 | 0 | 0.11 | 243.91 | 0 | 0
2023-02-19 | 244.98 | 79.99 | 73.3 | 85 | 6.69 | 0 | 244.98 | 0 | 0
2023-02-20 | 241.66 | 79.8 | 74.1 | 85 | 2.76 | 0 | 241.66 | 0 | 0
2023-02-21 | 212.77 | 79.89 | 74.4 | 68.02 | 0 | 9.55 | 222.32 | 0 | 0
2023-02-22 | 195.39 | 79.89 | 74 | 42.14 | 0 | 0.65 | 196.04 | 0 | 0
2023-02-23 | 220.66 | 80.08 | 75.2 | 65.67 | 0 | 0.29 | 220.95 | 0 | 0
2023-02-24 | 232.04 | 78.85 | 74 | 79.28 | 0 | 0.09 | 232.13 | 0 | 0
2023-02-25 | 261.59 | 78.66 | 73.2 | 85 | 24.73 | 0 | 261.59 | 0 | 0
2023-02-26 | 273.27 | 79.52 | 80.2 | 85.34 | 28.21 | 0 | 273.27 | 0 | 0
2023-02-27 | 291.56 | 79.33 | 80 | 96.17 | 36.06 | 0 | 291.56 | 0 | 0
2023-02-28 | 250.41 | 74.39 | 77 | 85 | 14.03 | 0 | 250.41 | 0 | 0
2023-03-01 | 217.21 | 73.25 | 82.1 | 75.56 | 0 | 13.7 | 230.91 | 0 | 0
2023-03-02 | 239.25 | 74.48 | 77.5 | 85 | 2.27 | 0 | 239.25 | 0 | 0
2023-03-03 | 272.31 | 77.9 | 77.8 | 85 | 31.61 | 0 | 272.31 | 0 | 0
2023-03-04 | 292.27 | 78.75 | 80 | 89.9 | 43.62 | 0 | 292.27 | 0 | 0
2023-03-05 | 331.97 | 81.03 | 80 | 100 | 70.94 | 0 | 331.97 | 0 | 0
2023-03-06 | 304.96 | 83.5 | 80 | 95.88 | 45.58 | 0 | 304.96 | 0 | 0
2023-03-07 | 250.52 | 82.65 | 83.2 | 84.86 | 0 | 0.2 | 250.72 | 0 | 0
2023-03-08 | 196.19 | 80.08 | 75.9 | 66.72 | 0 | 26.52 | 222.71 | 0 | 0
2023-03-09 | 213.57 | 81.71 | 75.59 | 73.28 | 0 | 17.01 | 230.58 | 0 | 0
2023-03-10 | 206.77 | 83.5 | 75.1 | 69.97 | 0 | 21.81 | 228.58 | 0 | 0
2023-03-11 | 200.77 | 82.56 | 79.4 | 66.16 | 0 | 27.34 | 228.11 | 0 | 0
2023-03-12 | 225.17 | 81.22 | 86.3 | 73.84 | 0 | 16.2 | 241.37 | 0 | 0
2023-03-13 | 213.41 | 85.31 | 96.1 | 63.38 | 0 | 31.37 | 244.78 | 0 | 0
2023-03-14 | 227.91 | 83.22 | 88.6 | 73.2 | 0 | 17.12 | 245.03 | 0 | 0
2023-03-15 | 189.84 | 82.36 | 80.5 | 61.33 | 0 | 34.35 | 224.19 | 0 | 0
2023-03-16 | 217.35 | 84.08 | 80.9 | 71.69 | 0 | 19.32 | 236.67 | 0 | 0
2023-03-17 | 214.6 | 82.08 | 82 | 70.79 | 0 | 20.27 | 234.87 | 0 | 0
2023-03-18 | 201.32 | 79.52 | 76.7 | 58.6 | 0 | 13.49 | 214.81 | 0 | 0
2023-03-19 | 249.34 | 76.47 | 82.9 | 85 | 4.97 | 0 | 249.34 | 0 | 0
2023-03-20 | 271.75 | 77.61 | 77.49 | 85 | 31.64 | 0 | 271.75 | 0 | 0
2023-03-21 | 223.97 | 76.67 | 76.5 | 79.18 | 0 | 8.37 | 232.34 | 0 | 0
2023-03-22 | 200.05 | 78.85 | 77.1 | 67.23 | 0 | 23.13 | 223.18 | 0 | 0
2023-03-23 | 214.93 | 81.89 | 78.8 | 64.79 | 0 | 10.55 | 225.48 | 0 | 0
2023-03-24 | 193.79 | 83.32 | 75.7 | 48.43 | 0 | 13.65 | 207.44 | 0 | 0
2023-03-25 | 186.24 | 81.89 | 78.1 | 36.43 | 0 | 10.18 | 196.42 | 0 | 0
2023-03-26 | 217.53 | 82.75 | 73.5 | 64.15 | 0 | 2.86 | 220.39 | 0 | 0
2023-03-27 | 220.27 | 80.56 | 70.8 | 69.15 | 0 | 0.24 | 220.51 | 0 | 0
2023-03-28 | 202.08 | 77.34 | 80.29 | 45.06 | 0 | 0.61 | 202.69 | 0 | 0
2023-03-29 | 204.63 | 78.66 | 69.1 | 57.29 | 0 | 0.42 | 205.05 | 0 | 0
2023-03-30 | 216.94 | 80 | 71.99 | 65.25 | 0 | 0.3 | 217.24 | 0 | 0
2023-03-31 | 227.77 | 81.33 | 72.89 | 73.72 | 0 | 0.17 | 227.94 | 0 | 0
Total winter supply |  | 14.6458 | 16.1125 | 12.7244 | 1.3593 |  |  | 0
Average daily flow |  | 80.4713 | 88.5302 | 69.9146 | 7.4686 |  |  | 0
Dotted lines highlight 21st Jan and 5th March

## Table 14, 15, 16 and Figure 17
Contents Page
Gas Day | GB & Moffat demand | UKCS | Norway | LNG | Storage withdrawal | Storage injection | NTS demand | Continental Europe Imports | Continental Europe exports | Figure 17
2022-10-01 | 141.44 | 82.27 | 58.5 | 60.85 | 0 | 50.18 | 201.62 | 0 | -10
2022-10-02 | 128.18 | 82.65 | 52.5 | 23.98 | 0 | 20.95 | 159.13 | 0 | -10
2022-10-03 | 133.39 | 82.46 | 63.1 | 11.33 | 0 | 13.5 | 156.89 | 0 | -10
2022-10-04 | 156.29 | 80.37 | 63.8 | 31.01 | 0 | 8.89 | 175.18 | 0 | -10
2022-10-05 | 153.38 | 81.03 | 63.7 | 28.52 | 0 | 9.88 | 173.26 | 0 | -10
2022-10-06 | 167.98 | 83.79 | 66.7 | 35.28 | 0 | 7.79 | 185.77 | 0 | -10 | [7 empty] | l
2022-10-07 | 146.25 | 83.89 | 70.1 | 11.07 | 0 | 8.81 | 165.06 | 0 | -10
2022-10-08 | 128.13 | 86.07 | 75.1 | 4 | 0 | 7.8 | 165.17 | 0 | -29.24
2022-10-09 | 131.36 | 88.25 | 71.2 | 4 | 0 | 6.83 | 163.45 | 0 | -25.26
2022-10-10 | 121.74 | 87.78 | 73.9 | 4 | 0 | 6 | 165.68 | 0 | -37.94
2022-10-11 | 142.04 | 86.07 | 77.3 | 4 | 0 | 6 | 167.37 | 0 | -19.33
2022-10-12 | 153.92 | 86.07 | 70.6 | 13.25 | 0 | 6 | 169.92 | 0 | -10
2022-10-13 | 179.64 | 84.93 | 76.1 | 31.61 | 0 | 3 | 192.64 | 0 | -10
2022-10-14 | 183.05 | 82.08 | 79.8 | 31.17 | 0 | 0 | 193.05 | 0 | -10
2022-10-15 | 176.56 | 80.57 | 81.59 | 24.4 | 0 | 0 | 186.56 | 0 | -10
2022-10-16 | 177.8 | 79.81 | 82.99 | 25 | 0 | 0 | 187.8 | 0 | -10
2022-10-17 | 177.92 | 75.44 | 80.59 | 31.89 | 0 | 0 | 187.92 | 0 | -10
2022-10-18 | 178.36 | 76.77 | 78.49 | 33.1 | 0 | 0 | 188.36 | 0 | -10
2022-10-19 | 222.3 | 81.61 | 84.9 | 65.8 | 0 | 0 | 232.3 | 0 | -10
2022-10-20 | 257.02 | 82.94 | 84.1 | 95 | 4.99 | 0 | 267.02 | 0 | -10
2022-10-21 | 249.17 | 77.04 | 89.5 | 94.01 | 0 | 1.39 | 260.56 | 0 | -10
2022-10-22 | 231.57 | 76.86 | 91 | 77.31 | 0 | 3.6 | 245.17 | 0 | -10
2022-10-23 | 203.63 | 80.66 | 86.6 | 46.37 | 0 | 0 | 213.63 | 0 | -10
2022-10-24 | 223.23 | 80.47 | 88.2 | 64.57 | 0 | 0 | 233.23 | 0 | -10
2022-10-25 | 271.88 | 79.99 | 92.6 | 95 | 14.29 | 0 | 281.88 | 0 | -10
2022-10-26 | 231.85 | 73.62 | 92.9 | 86.56 | 0 | 11.23 | 253.08 | 0 | -10
2022-10-27 | 212.03 | 83.5 | 83.1 | 58.48 | 0 | 3.06 | 225.09 | 0 | -10
2022-10-28 | 182.15 | 78.18 | 84.7 | 29.26 | 0 | 0 | 192.15 | 0 | -10
2022-10-29 | 171.16 | 79.99 | 84 | 17.17 | 0 | 0 | 181.16 | 0 | -10
2022-10-30 | 168.32 | 84.17 | 86.8 | 7.35 | 0 | 0 | 178.32 | 0 | -10
2022-10-31 | 185.48 | 83.32 | 79.1 | 33.07 | 0 | 0 | 195.48 | 0 | -10
2022-11-01 | 211.59 | 82.08 | 82.8 | 46.71 | 0 | 0 | 211.59 | 0 | 0
2022-11-02 | 198.52 | 82.84 | 88.9 | 26.78 | 0 | 0 | 198.52 | 0 | 0
2022-11-03 | 196.97 | 81.13 | 89.7 | 26.14 | 0 | 0 | 196.97 | 0 | 0 |  | Table 14 | [6 empty] | Table 15
2022-11-04 | 164.06 | 71.34 | 88.1 | 4.61 | 0 | 0 | 164.06 | 0 | 0 |  | Compare scenario demand with central forecast (bcm) | [6 empty] | Compare scenario supply with central forecast (bcm)
2022-11-05 | 191.65 | 69.06 | 84.4 | 38.18 | 0 | 0 | 191.65 | 0 | 0 |  | Demand Breakdown | Scenario | Winter Outlook Forecast |  |  |  |  | Supply Breakdown | Scenario | Winter Outlook Forecast
2022-11-06 | 200.26 | 67.07 | 94.5 | 38.69 | 0 | 0 | 200.26 | 0 | 0 |  | NDM | 29.805 | 27.1988 |  |  |  |  | UKCS | 14.6458 | 14.5167 | UKCS | 14645.78
2022-11-07 | 227.89 | 77.24 | 98.39 | 52.26 | 0 | 0 | 227.89 | 0 | 0 |  | DM+Ind | 4.41 | 4.3332 |  |  |  |  | Norway | 16.8337 | 16.0326 | Norway | 16833.7
2022-11-08 | 286.79 | 75.81 | 101.9 | 109.08 | 0 | 0 | 286.79 | 0 | 0 |  | Power | 9.2414 | 7.6142 |  |  |  |  | LNG | 15.6315 | 10.468 | LNG | 15631.5
2022-11-09 | 265.15 | 80.66 | 111.1 | 73.4 | 0 | 0 | 265.15 | 0 | 0 |  | Ireland | 3.4561 | 3.3361 |  |  |  |  | Continental Imports | 0.10029 | 0.59958 | IUK/BBL | 100.29
2022-11-10 | 257.22 | 84.36 | 110.4 | 62.46 | 0 | 0 | 257.22 | 0 | 0 |  | Continental Exports | 0.38177 | 0.26795 | Exports | 381.77 | 0.38177 |  | Storage Withdrawal | 1.7905 | 2.7283 | Storage | 1790.49
2022-11-11 | 236.21 | 85.78 | 110.5 | 39.93 | 0 | 0 | 236.21 | 0 | 0 |  | Storage Injection | 1.7034 | 2.0723 | Injection | 1703.36 | 1.7034 |  | Total | 49.0018 | 44.3452
2022-11-12 | 224.15 | 84.83 | 110.7 | 28.62 | 0 | 0 | 224.15 | 0 | 0 |  | Total | 48.9976 | 44.8224
2022-11-13 | 241.94 | 80.75 | 111.2 | 49.99 | 0 | 0 | 241.94 | 0 | 0
2022-11-14 | 269.14 | 74.19 | 111.2 | 83.74 | 0 | 0 | 269.14 | 0 | 0 |  |  | 49.0019
2022-11-15 | 258.48 | 76.47 | 110.9 | 71.11 | 0 | 0 | 258.48 | 0 | 0
2022-11-16 | 295.83 | 79.43 | 100.49 | 110 | 5.91 | 0 | 295.83 | 0 | 0
2022-11-17 | 298.49 | 81.23 | 94.69 | 110 | 12.57 | 0 | 298.49 | 0 | 0
2022-11-18 | 297.85 | 78.85 | 103.6 | 110 | 5.4 | 0 | 297.85 | 0 | 0
2022-11-19 | 294.68 | 75.53 | 111.3 | 109.12 | 0 | 1.27 | 295.95 | 0 | 0
2022-11-20 | 253.03 | 81.61 | 106.3 | 86.93 | 0 | 21.81 | 274.84 | 0 | 0 |  | Table 16
2022-11-21 | 275.39 | 81.03 | 100.1 | 95.05 | 0 | 0.8 | 276.19 | 0 | 0 |  | Interesting days breakdown (Peak day 1 Dec/Max Cont Imports 19 Dec)
2022-11-22 | 273.16 | 81.98 | 104.6 | 86.58 | 0 | 0 | 273.16 | 0 | 0
2022-11-23 | 295.49 | 84.74 | 91.6 | 110 | 9.15 | 0 | 295.49 | 0 | 0 |  |  | 1st Dec | 19th Dec
2022-11-24 | 283.19 | 81.98 | 84.1 | 110 | 7.1 | 0 | 283.19 | 0 | 0 |  | Supply Breakdown | Peak (mcm/d) | High Imports (mcm/d)
2022-11-25 | 371.62 | 80.18 | 105 | 136.71 | 49.73 | 0 | 371.62 | 0 | 0 |  | UKCS | 79.42 | 76.1
2022-11-26 | 380.24 | 79.33 | 105 | 145.32 | 50.6 | 0 | 380.24 | 0 | 0 |  | Norway | 105 | 135
2022-11-27 | 387.32 | 78.85 | 105 | 150 | 53.47 | 0 | 387.32 | 0 | 0 |  | LNG | 150 | 150
2022-11-28 | 385.7 | 78.47 | 105 | 150 | 52.23 | 0 | 385.7 | 0 | 0 |  | IUK/BBL | 0 | 30.99
2022-11-29 | 390.36 | 78 | 105 | 150 | 57.37 | 0 | 390.36 | 0 | 0 |  | Storage | 95.25 | 17.64
2022-11-30 | 384.18 | 80.08 | 105 | 145.72 | 53.38 | 0 | 384.18 | 0 | 0 |  | Demand | 429.67 | 409.73
2022-12-01 | 429.67 | 79.42 | 105 | 150 | 95.25 | 0 | 429.67 | 0 | 0
2022-12-02 | 424.02 | 78.28 | 105 | 150 | 90.74 | 0 | 424.02 | 0 | 0
2022-12-03 | 424.88 | 84.46 | 105 | 150 | 85.42 | 0 | 424.88 | 0 | 0
2022-12-04 | 338.35 | 81.89 | 99.1 | 115 | 42.36 | 0 | 338.35 | 0 | 0
2022-12-05 | 341.44 | 75.9 | 105 | 119.16 | 41.38 | 0 | 341.44 | 0 | 0
2022-12-06 | 389.66 | 76.57 | 105 | 150 | 58.09 | 0 | 389.66 | 0 | 0
2022-12-07 | 398.01 | 77.71 | 105 | 150 | 65.31 | 0 | 398.01 | 0 | 0
2022-12-08 | 403.96 | 74.19 | 105 | 150 | 74.76 | 0 | 403.96 | 0 | 0
2022-12-09 | 358.04 | 76.57 | 105 | 128.81 | 47.66 | 0 | 358.04 | 0 | 0
2022-12-10 | 320.24 | 77.42 | 102.99 | 115 | 24.83 | 0 | 320.24 | 0 | 0
2022-12-11 | 253.52 | 81.7 | 89.2 | 101.79 | 0 | 19.17 | 272.69 | 0 | 0
2022-12-12 | 275.81 | 82.17 | 89.6 | 110.53 | 0 | 6.49 | 282.3 | 0 | 0
2022-12-13 | 342.81 | 77.52 | 105 | 129.35 | 30.94 | 0 | 342.81 | 0 | 0
2022-12-14 | 351.59 | 80.94 | 105 | 129.64 | 36.02 | 0 | 351.59 | 0 | 0
2022-12-15 | 367.45 | 77.33 | 105.16 | 150 | 34.96 | 0 | 367.45 | 0 | 0
2022-12-16 | 362.99 | 79.42 | 105 | 145.65 | 32.91 | 0 | 362.99 | 0 | 0
2022-12-17 | 396.83 | 79.14 | 110.07 | 150 | 57.62 | 0 | 396.83 | 0 | 0
2022-12-18 | 403.33 | 78.47 | 132.91 | 150 | 41.95 | 0 | 403.33 | 0 | 0
2022-12-19 | 409.73 | 76.1 | 135 | 150 | 17.64 | 0 | 409.73 | 30.99 | 0
2022-12-20 | 405.19 | 75.72 | 135 | 150 | 17.47 | 0 | 405.19 | 27.01 | 0
2022-12-21 | 407.46 | 82.56 | 135 | 150 | 16.17 | 0 | 407.46 | 23.73 | 0
2022-12-22 | 402.87 | 83.5 | 135 | 150 | 15.81 | 0 | 402.87 | 18.56 | 0
2022-12-23 | 373.63 | 83.43 | 125.63 | 150 | 14.57 | 0 | 373.63 | 0 | 0
2022-12-24 | 310.95 | 84.93 | 105 | 119.9 | 1.12 | 0 | 310.95 | 0 | 0
2022-12-25 | 280.87 | 84.84 | 82.59 | 114.36 | 0 | 0.93 | 281.8 | 0 | 0
2022-12-26 | 295.77 | 82.75 | 97.62 | 115 | 0.4 | 0 | 295.77 | 0 | 0
2022-12-27 | 281.72 | 86.27 | 85.99 | 112.74 | 0 | 3.28 | 285 | 0 | 0
2022-12-28 | 260.36 | 86.74 | 86.7 | 103.54 | 0 | 16.62 | 276.98 | 0 | 0
2022-12-29 | 235.67 | 86.45 | 82.5 | 95.3 | 0 | 28.58 | 264.25 | 0 | 0
2022-12-30 | 239.89 | 84.55 | 87.3 | 95.84 | 0 | 27.8 | 267.69 | 0 | 0
2022-12-31 | 225.68 | 85.88 | 82.1 | 91.62 | 0 | 33.93 | 259.61 | 0 | 0
2023-01-01 | 224.31 | 86.64 | 81.5 | 88.04 | 0 | 31.87 | 256.18 | 0 | 0
2023-01-02 | 263.87 | 84.74 | 86.2 | 103.03 | 0 | 10.11 | 273.98 | 0 | 0
2023-01-03 | 272.82 | 79.99 | 102.7 | 101.89 | 0 | 11.76 | 284.58 | 0 | 0
2023-01-04 | 290.92 | 80.66 | 100.4 | 109.94 | 0 | 0.08 | 291 | 0 | 0
2023-01-05 | 321.78 | 82.27 | 99.78 | 110 | 29.73 | 0 | 321.78 | 0 | 0
2023-01-06 | 343.42 | 83.22 | 105 | 125.16 | 30.03 | 0 | 343.42 | 0 | 0
2023-01-07 | 314.59 | 78 | 101.51 | 110 | 25.08 | 0 | 314.59 | 0 | 0
2023-01-08 | 283.87 | 73.15 | 104.6 | 108.42 | 0 | 2.3 | 286.17 | 0 | 0
2023-01-09 | 291.87 | 75.14 | 112 | 107.85 | 0 | 3.12 | 294.99 | 0 | 0
2023-01-10 | 336.28 | 75.15 | 105 | 125.37 | 30.76 | 0 | 336.28 | 0 | 0
2023-01-11 | 333.33 | 74.1 | 107.7 | 131.05 | 20.48 | 0 | 333.33 | 0 | 0
2023-01-12 | 321.35 | 75.24 | 105 | 128.76 | 12.35 | 0 | 321.35 | 0 | 0
2023-01-13 | 275.63 | 76.67 | 105.1 | 103.42 | 0 | 9.55 | 285.18 | 0 | 0
2023-01-14 | 221.61 | 80.28 | 104.5 | 80.01 | 0 | 43.18 | 264.79 | 0 | 0
2023-01-15 | 214.55 | 79.14 | 91.59 | 83 | 0 | 39.18 | 253.73 | 0 | 0
2023-01-16 | 210.38 | 80 | 96.29 | 75.29 | 0 | 41.2 | 251.58 | 0 | 0
2023-01-17 | 275.07 | 80.57 | 93.19 | 106.46 | 0 | 5.14 | 280.21 | 0 | 0
2023-01-18 | 312.13 | 80.76 | 109.49 | 110 | 11.88 | 0 | 312.13 | 0 | 0
2023-01-19 | 333.86 | 80.66 | 109.29 | 113.92 | 29.99 | 0 | 333.86 | 0 | 0
2023-01-20 | 353.35 | 79.33 | 109.29 | 133.92 | 30.8 | 0 | 353.35 | 0 | 0
2023-01-21 | 358.84 | 84.94 | 108.39 | 138.44 | 27.07 | 0 | 358.84 | 0 | 0
2023-01-22 | 295.84 | 88.83 | 106.49 | 106.13 | 0 | 5.62 | 301.46 | 0 | 0
2023-01-23 | 269.48 | 86.27 | 99.09 | 99.44 | 0 | 15.32 | 284.8 | 0 | 0
2023-01-24 | 265.87 | 82.84 | 100.3 | 98.87 | 0 | 16.15 | 282.02 | 0 | 0
2023-01-25 | 251.5 | 80.08 | 107 | 91.4 | 0 | 26.99 | 278.49 | 0 | 0
2023-01-26 | 307.49 | 79.8 | 104.1 | 110 | 13.59 | 0 | 307.49 | 0 | 0
2023-01-27 | 305.52 | 79.89 | 106.4 | 110 | 9.23 | 0 | 305.52 | 0 | 0
2023-01-28 | 338.04 | 79.43 | 106.99 | 123.59 | 28.03 | 0 | 338.04 | 0 | 0
2023-01-29 | 322.9 | 80.75 | 112.1 | 114.48 | 15.57 | 0 | 322.9 | 0 | 0
2023-01-30 | 309.69 | 79.23 | 112.6 | 113.25 | 4.61 | 0 | 309.69 | 0 | 0
2023-01-31 | 348.44 | 83.12 | 113 | 139.05 | 13.26 | 0 | 348.44 | 0 | 0
2023-02-01 | 303.77 | 85.22 | 108.9 | 101.46 | 8.19 | 0 | 303.77 | 0 | 0
2023-02-02 | 302.89 | 85.97 | 109.9 | 100.68 | 6.34 | 0 | 302.89 | 0 | 0
2023-02-03 | 286.27 | 82.75 | 109.4 | 94.64 | 0 | 0.52 | 286.79 | 0 | 0
2023-02-04 | 231.71 | 78.75 | 102.6 | 76.78 | 0 | 26.43 | 258.14 | 0 | 0
2023-02-05 | 208.61 | 81.32 | 110.9 | 58.95 | 0 | 42.56 | 251.17 | 0 | 0
2023-02-06 | 204.28 | 78.75 | 112.7 | 57.18 | 0 | 44.36 | 248.64 | 0 | 0
2023-02-07 | 213.55 | 83.89 | 104.89 | 66.28 | 0 | 41.52 | 255.07 | 0 | 0
2023-02-08 | 224.61 | 84.64 | 96.5 | 73.98 | 0 | 30.51 | 255.12 | 0 | 0
2023-02-09 | 251.84 | 79.99 | 94.5 | 87.8 | 0 | 10.45 | 262.29 | 0 | 0
2023-02-10 | 245.85 | 79.89 | 98.3 | 83.84 | 0 | 16.19 | 262.04 | 0 | 0
2023-02-11 | 221.95 | 78.09 | 98.9 | 74.58 | 0 | 29.63 | 251.58 | 0 | 0
2023-02-12 | 217 | 73.92 | 93.39 | 76.51 | 0 | 26.83 | 243.83 | 0 | 0
2023-02-13 | 229.34 | 78.75 | 85 | 83 | 0 | 17.41 | 246.75 | 0 | 0
2023-02-14 | 234.03 | 79.99 | 87.8 | 83.27 | 0 | 17.03 | 251.06 | 0 | 0
2023-02-15 | 242.39 | 80.37 | 84.9 | 87.71 | 0 | 10.58 | 252.97 | 0 | 0
2023-02-16 | 246.51 | 81.33 | 85.09 | 88.92 | 0 | 8.83 | 255.34 | 0 | 0
2023-02-17 | 258.01 | 83.69 | 84.4 | 92.93 | 0 | 3.01 | 261.02 | 0 | 0
2023-02-18 | 264.89 | 82.27 | 84 | 95 | 3.62 | 0 | 264.89 | 0 | 0
2023-02-19 | 254.37 | 79.99 | 73.3 | 95 | 6.08 | 0 | 254.37 | 0 | 0
2023-02-20 | 258.75 | 79.8 | 74.1 | 95 | 9.85 | 0 | 258.75 | 0 | 0
2023-02-21 | 260.93 | 79.89 | 74.4 | 95 | 11.63 | 0 | 260.93 | 0 | 0
2023-02-22 | 244.34 | 79.89 | 74 | 93.14 | 0 | 2.7 | 247.04 | 0 | 0
2023-02-23 | 231.75 | 80.08 | 75.2 | 87.44 | 0 | 10.98 | 242.73 | 0 | 0
2023-02-24 | 203.44 | 78.85 | 74 | 76.88 | 0 | 26.29 | 229.73 | 0 | 0
2023-02-25 | 195.49 | 78.66 | 73.2 | 74.04 | 0 | 30.41 | 225.9 | 0 | 0
2023-02-26 | 205.32 | 79.52 | 80.2 | 74.85 | 0 | 29.24 | 234.56 | 0 | 0
2023-02-27 | 220.38 | 79.33 | 74.89 | 83.23 | 0 | 17.08 | 237.46 | 0 | 0
2023-02-28 | 247.93 | 74.39 | 77 | 95 | 1.54 | 0 | 247.93 | 0 | 0
2023-03-01 | 256.59 | 73.25 | 82.1 | 95 | 6.25 | 0 | 256.59 | 0 | 0
2023-03-02 | 275.39 | 74.48 | 77.5 | 95 | 28.41 | 0 | 275.39 | 0 | 0
2023-03-03 | 282.35 | 77.9 | 77.8 | 95 | 31.65 | 0 | 282.35 | 0 | 0
2023-03-04 | 266.28 | 78.75 | 73.5 | 95 | 19.03 | 0 | 266.28 | 0 | 0
2023-03-05 | 253.56 | 81.03 | 73.6 | 95 | 3.92 | 0 | 253.56 | 0 | 0
2023-03-06 | 252.65 | 83.5 | 72.2 | 95 | 1.95 | 0 | 252.65 | 0 | 0
2023-03-07 | 249.27 | 82.65 | 83.2 | 90.28 | 0 | 6.86 | 256.13 | 0 | 0
2023-03-08 | 225.55 | 80.08 | 75.9 | 84.62 | 0 | 15.06 | 240.61 | 0 | 0
2023-03-09 | 230.53 | 81.71 | 75.59 | 86.12 | 0 | 12.89 | 243.42 | 0 | 0
2023-03-10 | 215.77 | 83.5 | 75.1 | 79.56 | 0 | 22.4 | 238.17 | 0 | 0
2023-03-11 | 212.95 | 82.56 | 79.4 | 77.05 | 0 | 26.05 | 239 | 0 | 0
2023-03-12 | 197.61 | 81.22 | 86.3 | 68.51 | 0 | 38.43 | 236.04 | 0 | 0
2023-03-13 | 203.24 | 85.31 | 96.1 | 65.01 | 0 | 43.18 | 246.42 | 0 | 0
2023-03-14 | 199.68 | 83.22 | 88.6 | 67.61 | 0 | 39.75 | 239.43 | 0 | 0
2023-03-15 | 188.43 | 82.36 | 80.5 | 66.63 | 0 | 41.07 | 229.5 | 0 | 0
2023-03-16 | 213.35 | 84.08 | 80.9 | 75.98 | 0 | 27.6 | 240.95 | 0 | 0
2023-03-17 | 224.85 | 82.08 | 82 | 81.04 | 0 | 20.26 | 245.11 | 0 | 0
2023-03-18 | 231.44 | 79.52 | 76.7 | 86.93 | 0 | 11.71 | 243.15 | 0 | 0
2023-03-19 | 214.72 | 76.47 | 82.9 | 78.82 | 0 | 23.48 | 238.2 | 0 | 0
2023-03-20 | 199.31 | 77.61 | 75.6 | 75.05 | 0 | 28.96 | 228.27 | 0 | 0
2023-03-21 | 179.23 | 76.67 | 76.5 | 66.85 | 0 | 40.78 | 220.01 | 0 | 0
2023-03-22 | 166.16 | 78.85 | 77.1 | 55.52 | 0 | 45.3 | 211.46 | 0 | 0
2023-03-23 | 161.61 | 81.89 | 78.8 | 42.86 | 0 | 41.94 | 203.55 | 0 | 0
2023-03-24 | 157.43 | 83.32 | 75.7 | 25 | 0 | 26.58 | 184.01 | 0 | 0
2023-03-25 | 154.51 | 81.89 | 78.1 | 22.06 | 0 | 27.53 | 182.04 | 0 | 0
2023-03-26 | 175.5 | 82.75 | 73.5 | 40.75 | 0 | 21.5 | 197 | 0 | 0
2023-03-27 | 176.65 | 80.56 | 70.8 | 46.04 | 0 | 20.75 | 197.4 | 0 | 0
2023-03-28 | 169.09 | 77.34 | 80.29 | 34.86 | 0 | 23.4 | 192.49 | 0 | 0
2023-03-29 | 164.41 | 78.66 | 69.1 | 38.78 | 0 | 22.13 | 186.54 | 0 | 0
2023-03-30 | 184.82 | 80 | 71.99 | 51.37 | 0 | 18.54 | 203.36 | 0 | 0
2023-03-31 | 158.89 | 81.33 | 72.89 | 22.16 | 0 | 17.49 | 176.38 | 0 | 0
Total winter supply |  | 14.6458 | 16.8337 | 15.6315 | 1.7905 |  |  | 0.10029
Average daily flow |  | 80.4713 | 92.4929 | 85.8874 | 9.8379 |  |  | 0.55104
Dotted lines highlight 1st and 20th December

## Table 17, 18 and Figure 18
Contents Page
GasDay | Demand | UKCS | Norway | IUK_BBL | LNG | storage_with | storage_inj | Storage w/d % | Figure 18
2026-02-21 | 288.65 | 79.89 | 84.68 | 0 | 110 | 14.08 | 0 | 100% | Cold snap supplies with 65% full storage
2026-02-22 | 295.92 | 79.89 | 90.33 | 0 | 110 | 15.7 | 0 | 100%
2026-02-23 | 297.12 | 80.08 | 91.38 | 0 | 110 | 15.66 | 0 | 100%
2026-02-24 | 294.49 | 78.85 | 90.02 | 0 | 110 | 15.62 | 0 | 100%
2026-02-25 | 302.6 | 78.66 | 97.62 | 0 | 110 | 16.31 | 0 | 100%
2026-02-26 | 376.1 | 79.52 | 105 | 0 | 150 | 41.59 | 0 | 100%
2026-02-27 | 398.89 | 79.33 | 107.05 | 0 | 150 | 62.5 | 0 | 100%
2026-02-28 | 418.77 | 74.39 | 126.14 | 0 | 150 | 68.24 | 0 | 100%
2026-03-01 | 431.19 | 73.25 | 130.57 | 0 | 150 | 77.38 | 0 | 100%
2026-03-02 | 377.38 | 74.48 | 116.37 | 0 | 150 | 36.53 | 0 | 68.92%
2026-03-03 | 333.54 | 77.9 | 105 | 0 | 142.63 | 8.01 | 0 | 63.22%
2026-03-04 | 299.98 | 78.75 | 104.24 | 0 | 110 | 6.98 | 0 | 63.15%
2026-03-05 | 295.97 | 81.03 | 99.56 | 0 | 110 | 5.38 | 0 | 57.89%
2026-03-06 | 289.42 | 83.5 | 90.92 | 0 | 110 | 5 | 0 | 57.89%
2026-03-07 | 276.63 | 82.65 | 83.57 | 0 | 110 | 0.41 | 0 | 57.89%
MRS Opening Stock | 1041.14
MRS Opening % | 64.58%
MRS Closing Stock | 665.83
Table 17
Storage stock levels for scenario 3
| MRS Storage % Full |  | Opening Stocks |  | Volume used over period
| 64.58% |  | 1041.14 |  | 375.31
Table 18
Average and max supply and demand for cold snap scenario
|  | 15 day average (mcm/d) | Max (mcm/d) | Date
| Demand | 331.7767 | 431.19 | 2026-03-01
| UKCS | 78.8113 | 83.5 | 2026-03-06
| Norway | 101.4967 | 130.57 | 2026-03-01
| LNG | 125.5087 | 150 | 2026-02-26
| Storage | 25.9593 | 77.38 | 2026-03-01
| Continent | 0 | 0 | 2026-02-21
Formulas:
IUK_BBL = INDEX(A3:A17,MATCH([Norway],B3:B17,0),1)
IUK_BBL = INDEX(A3:A17,MATCH([Norway],C3:C17,0),1)

## Figure 19
Contents Page
GasDay | Demand | UKCS | Norway | IUK_BBL | LNG | storage_with | storage_inj | Storage w/d % | Figure 19
2026-02-21 | 288.65 | 79.89 | 84.68 | 0 | 110 | 14.08 | 0 | 100% | Cold snap supplies – stocks at 65%, 50 mcm/d supply loss
2026-02-22 | 295.92 | 29.89 | 105 | 0 | 139.12 | 21.9 | 0 | 100%
2026-02-23 | 297.12 | 30.08 | 105 | 0 | 140.14 | 21.9 | 0 | 100%
2026-02-24 | 294.49 | 28.85 | 105 | 0 | 138.75 | 21.89 | 0 | 100%
2026-02-25 | 302.6 | 28.66 | 105 | 0 | 147.37 | 21.57 | 0 | 100%
2026-02-26 | 376.1 | 29.52 | 127.88 | 0 | 150 | 68.7 | 0 | 100%
2026-02-27 | 398.89 | 29.33 | 135 | 0.72 | 150 | 83.83 | 0 | 100%
2026-02-28 | 418.77 | 24.39 | 135 | 31.97 | 150 | 77.42 | 0 | 94.66%
2026-03-01 | 431.19 | 23.25 | 135 | 61.48 | 150 | 61.46 | 0 | 75.69%
2026-03-02 | 377.38 | 24.48 | 135 | 19.85 | 150 | 48.05 | 0 | 57.27%
2026-03-03 | 333.54 | 27.9 | 130.68 | 0 | 150 | 24.97 | 0 | 51.26%
2026-03-04 | 299.98 | 28.75 | 107.9 | 0 | 150 | 13.33 | 0 | 51.26%
2026-03-05 | 295.97 | 31.03 | 105.16 | 0 | 150 | 9.77 | 0 | 51.26%
2026-03-06 | 289.42 | 33.5 | 105 | 0 | 144.87 | 6.05 | 0 | 50.57%
2026-03-07 | 276.63 | 82.65 | 83.58 | 0 | 110 | 0.4 | 0 | 50.57%
MRS Opening Stock | 1041.14
MRS Opening % | 64.58%
MRS Closing Stock | 559.88
| MRS Storage % Full |  | Opening Stocks |  | Volume used over period
| 64.58% |  | 1041.14 |  | 481.26
|  | 15 day average (mcm/d) | Max (mcm/d) | Date
| Demand | 331.7767 | 431.19 | 2026-03-01
| UKCS | 35.478 | 82.65 | 2026-03-07
| Norway | 113.6587 | 135 | 2026-02-27
| LNG | 142.0167 | 150 | 2026-02-26
| Storage | 33.0213 | 83.83 | 2026-02-27
| Continent | 7.6013 | 61.48 | 2026-03-01
Formulas:
IUK_BBL = INDEX(A3:A17,MATCH([Norway],B3:B17,0),1)
IUK_BBL = INDEX(A3:A17,MATCH([Norway],C3:C17,0),1)

## Figure 20
Contents Page
GasDay | Demand | UKCS | Norway | IUK_BBL | LNG | storage_with | storage_inj | Storage w/d % | Figure 20
2026-02-21 | 288.65 | 79.89 | 80.39 | 0 | 120 | 8.37 | 0 | 47.65% | Cold snap supplies – stocks at 25%, no supply loss
2026-02-22 | 295.92 | 79.89 | 85.37 | 0 | 120 | 10.66 | 0 | 46.98%
2026-02-23 | 297.12 | 80.08 | 86.39 | 0 | 120 | 10.65 | 0 | 46.98%
2026-02-24 | 294.49 | 78.85 | 85.34 | 0 | 120 | 10.3 | 0 | 46.42%
2026-02-25 | 302.6 | 78.66 | 93.18 | 0 | 120 | 10.76 | 0 | 46.2%
2026-02-26 | 376.1 | 79.52 | 120.17 | 0 | 150 | 26.41 | 0 | 46.2%
2026-02-27 | 398.89 | 79.33 | 135 | 22.35 | 150 | 12.2 | 0 | 30.69%
2026-02-28 | 418.77 | 74.39 | 135 | 33.62 | 150 | 25.77 | 0 | 23.58%
2026-03-01 | 431.19 | 73.25 | 135 | 47.71 | 150 | 25.23 | 0 | 23.24%
2026-03-02 | 377.38 | 74.48 | 135 | 6.95 | 150 | 10.95 | 0 | 23.17%
2026-03-03 | 333.54 | 77.9 | 105 | 0 | 148.48 | 2.16 | 0 | 23.02%
2026-03-04 | 299.98 | 78.75 | 105 | 0 | 114.72 | 1.5 | 0 | 22.87%
2026-03-05 | 295.97 | 81.03 | 103.69 | 0 | 110 | 1.25 | 0 | 22.87%
2026-03-06 | 289.42 | 83.5 | 94.98 | 0 | 110 | 0.94 | 0 | 22.87%
2026-03-07 | 276.63 | 82.65 | 83.95 | 0 | 110 | 0.03 | 0 | 22.8%
MRS Opening Stock | 288.6
MRS Opening % | 25.23%
MRS Closing Stock | 139.8
| MRS Storage % Full |  | Opening Stocks |  | Volume used over period
| 25.23% |  | 288.6 |  | 148.8
|  | 15 day average (mcm/d) | Max (mcm/d) | Date
| Demand | 331.7767 | 431.19 | 2026-03-01
| UKCS | 78.8113 | 83.5 | 2026-03-06
| Norway | 105.564 | 135 | 2026-02-27
| LNG | 129.5467 | 150 | 2026-02-26
| Storage | 10.4787 | 26.41 | 2026-02-26
| Continent | 7.3753 | 47.71 | 2026-03-01
Formulas:
IUK_BBL = INDEX(A3:A17,MATCH([Norway],B3:B17,0),1)
IUK_BBL = INDEX(A3:A17,MATCH([Norway],C3:C17,0),1)